## Instructions
Optimization Assessment Software - Version 27
Instructions
Entering data from another spreadsheet (copy/pasting):
1. | When entering data sets from another spreadsheet, use the DataEntryPaste worksheet. This will
reduce problems that could occur due to formatting differences.
2. | Before entering new data, you should clear the data entry area of any pre-existing data. This can be
performed by clicking on the CLEAR button.
3. | After the data is entered, click the TRANSFER button to transfer the data to the database.
4. | Go to the DataEntryValues worksheet and enter the plant name and performance goals.
5. | Click the UPDATE button to develop the Summary and Optimization Trend Reports.
Entering individual data from plant records:
1. | When entering daily data from plant records, use the DataEntryValues worksheet.
2. | Before entering new data, you should clear the database of any pre-existing data. This can be
performed by clicking on the CLEAR button.
3. | After data is entered, click on the UPDATE button to develop the Summary and Optimization Trend
Reports.
Optimization Assessment Software - Version 27
| FILE: | Turb-opt27.xls
| AUTHOR: | L. DeMers, K. Rakness, B. Hegg
| COMPANY: | Process Applications, Inc.
| PURPOSE: | To assess particulate removal in surface water treatment plants
| DATE MODIFIED: |  | MODIFICATIONS & BY WHOM:
| 1999-04-15 | LDD initiated program development.
| 1999-05-26 | LDD modified program to include individual sedimentation and filter graphs.
| 1999-05-27 | LDD modified program to indicate "out of range" warning for filter turbidity data entry.
| 1999-07-23 | LDD initiated program modifications to use percentile calculation.
| 1999-09-23 | LDD added column for combined filter effluent turbidity.
Modifications also made to use percentile calculations.
| 1999-09-25 | LDD modified program to include optimization goal tracking features.
| 1999-11-24 | LDD added worst filter cell conditions and screen hide during macro.
| 1999-11-28 | LDD added worst sed basin cell conditions.
| 1999-12-16 | LDD corrected 95% calc. error in max. sed. and filter columns.
LDD modified to data input to allow up to 12 filters.
| 1999-12-17 | LDD modified annual statistics to exclude STDEV and include % time meeting reg.
requirement.
| 2000-03-03 | LDD fixed y-axis on individual sed and filter graphs
| 2000-05-13 | LDD corrected Leap Year problem (temporary fix until modifications to account for both
Leap Year and non-Leap year data input is completed).
| 2000-06-08 | LDD/KLR corrected Leap Year problem to allow data input for both Leap Year and non
Leap Year data.
| 2000-11-28 | LDD corrected error in max filter turbidity calc on DataEntryValues worksheet. Saved
as turb-opt23p.xls.
| 2001-03-27 | LDD corrected error in max settled water graph to plot the max value from four sed
basins (versus the value from sed basin 1). Also corrected date range in same graph.
Saved as turb-opt24a.xls.
| 2001-04-18 | LDD added "Yes/No" step to clear macros. Changed color of macro buttons.
| 2002-08-23 | LDD added LT-Trend worksheet to support LT Trend companion spreadsheet.
Corrected y-axis lable on MaxFilter chart. Saved as turb-opt26a.xls.
| 2003-04-20 | LDD added data entry cell for public water system number.
| 2003-04-20 | LDD added annual calculations for individual basin/filter 95th % and % values meeting
goal calculations. Saved as turb-opt27.xls.
Model developed by: Process Applications, Inc. Fort Collins, CO 970-223-5787
Click of this button to go to DataEntryPaste
Click of this button to go to DataEntryValues

## DataEntryPaste
Instruction to users: Paste plant turbidity data sets into the data entry area below. The
data entry area will hold 366 days of data. Following data input, transfer data to the
database by clicking on the data TRANSFER button. Go to the DataEntryValues
worksheet to enter the plant name and performance goals.
Data Entry Area for Posting Data Sets
Date | Raw | Sed 1 | Sed 2 | Sed 3 | Sed 4 | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Combined
2012-10-01
2012-10-02
2012-10-03
2012-10-04
2012-10-05
2012-10-06
2012-10-07
2012-10-08
2012-10-09
2012-10-10
2012-10-11
2012-10-12
2012-10-13
2012-10-14
2012-10-15
2012-10-16
2012-10-17
2012-10-18
2012-10-19
2012-10-20
2012-10-21
2012-10-22
2012-10-23
2012-10-24
2012-10-25
2012-10-26
2012-10-27
2012-10-28
2012-10-29
2012-10-30
2012-10-31
2012-11-01
2012-11-02
2012-11-03
2012-11-04
2012-11-05
2012-11-06
2012-11-07
2012-11-08
2012-11-09
2012-11-10
2012-11-11
2012-11-12
2012-11-13
2012-11-14
2012-11-15
2012-11-16
2012-11-17
2012-11-18
2012-11-19
2012-11-20
2012-11-21
2012-11-22
2012-11-23
2012-11-24
2012-11-25
2012-11-26
2012-11-27
2012-11-28
2012-11-29
2012-11-30
2012-12-01
2012-12-02
2012-12-03
2012-12-04
2012-12-05
2012-12-06
2012-12-07
2012-12-08
2012-12-09
2012-12-10
2012-12-11
2012-12-12
2012-12-13
2012-12-14
2012-12-15
2012-12-16
2012-12-17
2012-12-18
2012-12-19
2012-12-20
2012-12-21
2012-12-22
2012-12-23
2012-12-24
2012-12-25
2012-12-26
2012-12-27
2012-12-28
2012-12-29
2012-12-30
2012-12-31
2013-01-01
2013-01-02
2013-01-03
2013-01-04
2013-01-05
2013-01-06
2013-01-07
2013-01-08
2013-01-09
2013-01-10
2013-01-11
2013-01-12
2013-01-13
2013-01-14
2013-01-15
2013-01-16
2013-01-17
2013-01-18
2013-01-19
2013-01-20
2013-01-21
2013-01-22
2013-01-23
2013-01-24
2013-01-25
2013-01-26
2013-01-27
2013-01-28
2013-01-29
2013-01-30
2013-01-31
2013-02-01
2013-02-02
2013-02-03
2013-02-04
2013-02-05
2013-02-06
2013-02-07
2013-02-08
2013-02-09
2013-02-10
2013-02-11
2013-02-12
2013-02-13
2013-02-14
2013-02-15
2013-02-16
2013-02-17
2013-02-18
2013-02-19
2013-02-20
2013-02-21
2013-02-22
2013-02-23
2013-02-24
2013-02-25
2013-02-26
2013-02-27
2013-02-28
2013-03-01
2013-03-02
2013-03-03
2013-03-04
2013-03-05
2013-03-06
2013-03-07
2013-03-08
2013-03-09
2013-03-10
2013-03-11
2013-03-12
2013-03-13
2013-03-14
2013-03-15
2013-03-16
2013-03-17
2013-03-18
2013-03-19
2013-03-20
2013-03-21
2013-03-22
2013-03-23
2013-03-24
2013-03-25
2013-03-26
2013-03-27
2013-03-28
2013-03-29
2013-03-30
2013-03-31
2013-04-01
2013-04-02
2013-04-03
2013-04-04
2013-04-05
2013-04-06
2013-04-07
2013-04-08
2013-04-09
2013-04-10
2013-04-11
2013-04-12
2013-04-13
2013-04-14
2013-04-15
2013-04-16
2013-04-17
2013-04-18
2013-04-19
2013-04-20
2013-04-21
2013-04-22
2013-04-23
2013-04-24
2013-04-25
2013-04-26
2013-04-27
2013-04-28
2013-04-29
2013-04-30
2013-05-01
2013-05-02
2013-05-03
2013-05-04
2013-05-05
2013-05-06
2013-05-07
2013-05-08
2013-05-09
2013-05-10
2013-05-11
2013-05-12
2013-05-13
2013-05-14
2013-05-15
2013-05-16
2013-05-17
2013-05-18
2013-05-19
2013-05-20
2013-05-21
2013-05-22
2013-05-23
2013-05-24
2013-05-25
2013-05-26
2013-05-27
2013-05-28
2013-05-29
2013-05-30
2013-05-31
2013-06-01
2013-06-02
2013-06-03
2013-06-04
2013-06-05
2013-06-06
2013-06-07
2013-06-08
2013-06-09
2013-06-10
2013-06-11
2013-06-12
2013-06-13
2013-06-14
2013-06-15
2013-06-16
2013-06-17
2013-06-18
2013-06-19
2013-06-20
2013-06-21
2013-06-22
2013-06-23
2013-06-24
2013-06-25
2013-06-26
2013-06-27
2013-06-28
2013-06-29
2013-06-30
2013-07-01
2013-07-02
2013-07-03
2013-07-04
2013-07-05
2013-07-06
2013-07-07
2013-07-08
2013-07-09
2013-07-10
2013-07-11
2013-07-12
2013-07-13
2013-07-14
2013-07-15
2013-07-16
2013-07-17
2013-07-18
2013-07-19
2013-07-20
2013-07-21
2013-07-22
2013-07-23
2013-07-24
2013-07-25
2013-07-26
2013-07-27
2013-07-28
2013-07-29
2013-07-30
2013-07-31
2013-08-01
2013-08-02
2013-08-03
2013-08-04
2013-08-05
2013-08-06
2013-08-07
2013-08-08
2013-08-09
2013-08-10
2013-08-11
2013-08-12
2013-08-13
2013-08-14
2013-08-15
2013-08-16
2013-08-17
2013-08-18
2013-08-19
2013-08-20
2013-08-21
2013-08-22
2013-08-23
2013-08-24
2013-08-25
2013-08-26
2013-08-27
2013-08-28
2013-08-29
2013-08-30
2013-08-31
2013-09-01
2013-09-02
2013-09-03
2013-09-04
2013-09-05
2013-09-06
2013-09-07
2013-09-08
2013-09-09
2013-09-10
2013-09-11
2013-09-12
2013-09-13
2013-09-14
2013-09-15
2013-09-16
2013-09-17
2013-09-18
2013-09-19
2013-09-20
2013-09-21
2013-09-22
2013-09-23
2013-09-24
2013-09-25
2013-09-26
2013-09-27
2013-09-28
2013-09-29
2013-09-30
2013-10-01
Formulas:
Date = [Date, row above]+1
Note on A15: Input Start Date. Start Date must be 1st of month (space available for 366 days)
Click of this button to TRANSFER the data to the database
Click on this Button to CLEAR the data from the data entry area below

## DataEntryValues
Plant Name
| PWS # |  |  |  |  | PWS: XXXXXXX
| Max. settled water turbidity goal |  |  |  |  | 2
| Filtered water turbidity optimization goal |  |  |  |  | 0.1
| Filtered water turbidity regulation |  |  |  |  | 0.3
Instruction to users: Input plant name and turbidity goals above. Input start date
and turbidity data below. The database will hold 366 days of data. The turbidity data
entry cells will turn yellow if the value exceeds the process goal. Following data
input, develop the reports by clicking the UPDATE button.
Data Entry Area
| Raw | Sed 1 | Sed 2 | Sed 3 | Sed 4 | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Combined |  | MaxSed | MaxSedPlot | Sed Goal | Max Filter | MaxFilterPlot | Filter Goal | SetSort |  | Set% | FilSort |  | Fil% | CombSort |  | Comb%
2012-10-01 | [18 empty] | 1 | 0 |  | 2 | 0 |  | 0.1 |  | 34 | #DIV/0! |  | 214 | #DIV/0! |  | 158 | #DIV/0!
2012-10-02 | [18 empty] | 2 | 0 |  | 2 | 0 |  | 0.1 |  | 281 | #DIV/0! |  | 41 | #DIV/0! |  | 239 | #DIV/0!
2012-10-03 | [18 empty] | 3 | 0 |  | 2 | 0 |  | 0.1 |  | 193 | #DIV/0! |  | 54 | #DIV/0! |  | 65 | #DIV/0!
2012-10-04 | [18 empty] | 4 | 0 |  | 2 | 0 |  | 0.1 |  | 252 | #DIV/0! |  | 219 | #DIV/0! |  | 116 | #DIV/0!
2012-10-05 | [18 empty] | 5 | 0 |  | 2 | 0 |  | 0.1 |  | 66 | #DIV/0! |  | 304 | #DIV/0! |  | 195 | #DIV/0!
2012-10-06 | [18 empty] | 6 | 0 |  | 2 | 0 |  | 0.1 |  | 188 | #DIV/0! |  | 22 | #DIV/0! |  | 271 | #DIV/0!
2012-10-07 | [18 empty] | 7 | 0 |  | 2 | 0 |  | 0.1 |  | 140 | #DIV/0! |  | 100 | #DIV/0! |  | 131 | #DIV/0!
2012-10-08 | [18 empty] | 8 | 0 |  | 2 | 0 |  | 0.1 |  | 202 | #DIV/0! |  | 59 | #DIV/0! |  | 101 | #DIV/0!
2012-10-09 | [18 empty] | 9 | 0 |  | 2 | 0 |  | 0.1 |  | 147 | #DIV/0! |  | 323 | #DIV/0! |  | 328 | #DIV/0!
2012-10-10 | [18 empty] | 10 | 0 |  | 2 | 0 |  | 0.1 |  | 8 | #DIV/0! |  | 140 | #DIV/0! |  | 168 | #DIV/0!
2012-10-11 | [18 empty] | 11 | 0 |  | 2 | 0 |  | 0.1 |  | 81 | #DIV/0! |  | 276 | #DIV/0! |  | 21 | #DIV/0!
2012-10-12 | [18 empty] | 12 | 0 |  | 2 | 0 |  | 0.1 |  | 206 | #DIV/0! |  | 344 | #DIV/0! |  | 19 | #DIV/0!
2012-10-13 | [18 empty] | 13 | 0 |  | 2 | 0 |  | 0.1 |  | 118 | #DIV/0! |  | 335 | #DIV/0! |  | 326 | #DIV/0!
2012-10-14 | [18 empty] | 14 | 0 |  | 2 | 0 |  | 0.1 |  | 287 | #DIV/0! |  | 9 | #DIV/0! |  | 149 | #DIV/0!
2012-10-15 | [18 empty] | 15 | 0 |  | 2 | 0 |  | 0.1 |  | 110 | #DIV/0! |  | 76 | #DIV/0! |  | 23 | #DIV/0!
2012-10-16 | [18 empty] | 16 | 0 |  | 2 | 0 |  | 0.1 |  | 183 | #DIV/0! |  | 221 | #DIV/0! |  | 53 | #DIV/0!
2012-10-17 | [18 empty] | 17 | 0 |  | 2 | 0 |  | 0.1 |  | 352 | #DIV/0! |  | 77 | #DIV/0! |  | 330 | #DIV/0!
2012-10-18 | [18 empty] | 18 | 0 |  | 2 | 0 |  | 0.1 |  | 320 | #DIV/0! |  | 52 | #DIV/0! |  | 180 | #DIV/0!
2012-10-19 | [18 empty] | 19 | 0 |  | 2 | 0 |  | 0.1 |  | 156 | #DIV/0! |  | 19 | #DIV/0! |  | 302 | #DIV/0!
2012-10-20 | [18 empty] | 20 | 0 |  | 2 | 0 |  | 0.1 |  | 304 | #DIV/0! |  | 10 | #DIV/0! |  | 165 | #DIV/0!
2012-10-21 | [18 empty] | 21 | 0 |  | 2 | 0 |  | 0.1 |  | 79 | #DIV/0! |  | 257 | #DIV/0! |  | 319 | #DIV/0!
2012-10-22 | [18 empty] | 22 | 0 |  | 2 | 0 |  | 0.1 |  | 157 | #DIV/0! |  | 210 | #DIV/0! |  | 174 | #DIV/0!
2012-10-23 | [18 empty] | 23 | 0 |  | 2 | 0 |  | 0.1 |  | 343 | #DIV/0! |  | 190 | #DIV/0! |  | 80 | #DIV/0!
2012-10-24 | [18 empty] | 24 | 0 |  | 2 | 0 |  | 0.1 |  | 186 | #DIV/0! |  | 40 | #DIV/0! |  | 226 | #DIV/0!
2012-10-25 | [18 empty] | 25 | 0 |  | 2 | 0 |  | 0.1 |  | 103 | #DIV/0! |  | 315 | #DIV/0! |  | 87 | #DIV/0!
2012-10-26 | [18 empty] | 26 | 0 |  | 2 | 0 |  | 0.1 |  | 334 | #DIV/0! |  | 99 | #DIV/0! |  | 245 | #DIV/0!
2012-10-27 | [18 empty] | 27 | 0 |  | 2 | 0 |  | 0.1 |  | 195 | #DIV/0! |  | 272 | #DIV/0! |  | 169 | #DIV/0!
2012-10-28 | [18 empty] | 28 | 0 |  | 2 | 0 |  | 0.1 |  | 315 | #DIV/0! |  | 97 | #DIV/0! |  | 292 | #DIV/0!
2012-10-29 | [18 empty] | 29 | 0 |  | 2 | 0 |  | 0.1 |  | 261 | #DIV/0! |  | 95 | #DIV/0! |  | 182 | #DIV/0!
2012-10-30 | [18 empty] | 30 | 0 |  | 2 | 0 |  | 0.1 |  | 284 | #DIV/0! |  | 137 | #DIV/0! |  | 98 | #DIV/0!
2012-10-31 | [18 empty] | 31 | 0 |  | 2 | 0 |  | 0.1 |  | 327 | #DIV/0! |  | 25 | #DIV/0! |  | 167 | #DIV/0!
2012-11-01 | [18 empty] | 32 | 0 |  | 2 | 0 |  | 0.1 |  | 158 | #DIV/0! |  | 101 | #DIV/0! |  | 233 | #DIV/0!
2012-11-02 | [18 empty] | 33 | 0 |  | 2 | 0 |  | 0.1 |  | 165 | #DIV/0! |  | 119 | #DIV/0! |  | 139 | #DIV/0!
2012-11-03 | [18 empty] | 34 | 0 |  | 2 | 0 |  | 0.1 |  | 296 | #DIV/0! |  | 180 | #DIV/0! |  | 115 | #DIV/0!
2012-11-04 | [18 empty] | 35 | 0 |  | 2 | 0 |  | 0.1 |  | 313 | #DIV/0! |  | 340 | #DIV/0! |  | 249 | #DIV/0!
2012-11-05 | [18 empty] | 36 | 0 |  | 2 | 0 |  | 0.1 |  | 98 | #DIV/0! |  | 350 | #DIV/0! |  | 176 | #DIV/0!
2012-11-06 | [18 empty] | 37 | 0 |  | 2 | 0 |  | 0.1 |  | 6 | #DIV/0! |  | 241 | #DIV/0! |  | 351 | #DIV/0!
2012-11-07 | [18 empty] | 38 | 0 |  | 2 | 0 |  | 0.1 |  | 51 | #DIV/0! |  | 301 | #DIV/0! |  | 122 | #DIV/0!
2012-11-08 | [18 empty] | 39 | 0 |  | 2 | 0 |  | 0.1 |  | 180 | #DIV/0! |  | 230 | #DIV/0! |  | 246 | #DIV/0!
2012-11-09 | [18 empty] | 40 | 0 |  | 2 | 0 |  | 0.1 |  | 36 | #DIV/0! |  | 149 | #DIV/0! |  | 194 | #DIV/0!
2012-11-10 | [18 empty] | 41 | 0 |  | 2 | 0 |  | 0.1 |  | 39 | #DIV/0! |  | 334 | #DIV/0! |  | 86 | #DIV/0!
2012-11-11 | [18 empty] | 42 | 0 |  | 2 | 0 |  | 0.1 |  | 42 | #DIV/0! |  | 135 | #DIV/0! |  | 225 | #DIV/0!
2012-11-12 | [18 empty] | 43 | 0 |  | 2 | 0 |  | 0.1 |  | 144 | #DIV/0! |  | 243 | #DIV/0! |  | 146 | #DIV/0!
2012-11-13 | [18 empty] | 44 | 0 |  | 2 | 0 |  | 0.1 |  | 295 | #DIV/0! |  | 198 | #DIV/0! |  | 84 | #DIV/0!
2012-11-14 | [18 empty] | 45 | 0 |  | 2 | 0 |  | 0.1 |  | 258 | #DIV/0! |  | 252 | #DIV/0! |  | 104 | #DIV/0!
2012-11-15 | [18 empty] | 46 | 0 |  | 2 | 0 |  | 0.1 |  | 275 | #DIV/0! |  | 343 | #DIV/0! |  | 110 | #DIV/0!
2012-11-16 | [18 empty] | 47 | 0 |  | 2 | 0 |  | 0.1 |  | 100 | #DIV/0! |  | 305 | #DIV/0! |  | 288 | #DIV/0!
2012-11-17 | [18 empty] | 48 | 0 |  | 2 | 0 |  | 0.1 |  | 67 | #DIV/0! |  | 354 | #DIV/0! |  | 105 | #DIV/0!
2012-11-18 | [18 empty] | 49 | 0 |  | 2 | 0 |  | 0.1 |  | 133 | #DIV/0! |  | 121 | #DIV/0! |  | 318 | #DIV/0!
2012-11-19 | [18 empty] | 50 | 0 |  | 2 | 0 |  | 0.1 |  | 127 | #DIV/0! |  | 289 | #DIV/0! |  | 49 | #DIV/0!
2012-11-20 | [18 empty] | 51 | 0 |  | 2 | 0 |  | 0.1 |  | 150 | #DIV/0! |  | 211 | #DIV/0! |  | 78 | #DIV/0!
2012-11-21 | [18 empty] | 52 | 0 |  | 2 | 0 |  | 0.1 |  | 342 | #DIV/0! |  | 105 | #DIV/0! |  | 132 | #DIV/0!
2012-11-22 | [18 empty] | 53 | 0 |  | 2 | 0 |  | 0.1 |  | 191 | #DIV/0! |  | 195 | #DIV/0! |  | 119 | #DIV/0!
2012-11-23 | [18 empty] | 54 | 0 |  | 2 | 0 |  | 0.1 |  | 129 | #DIV/0! |  | 209 | #DIV/0! |  | 29 | #DIV/0!
2012-11-24 | [18 empty] | 55 | 0 |  | 2 | 0 |  | 0.1 |  | 78 | #DIV/0! |  | 204 | #DIV/0! |  | 36 | #DIV/0!
2012-11-25 | [18 empty] | 56 | 0 |  | 2 | 0 |  | 0.1 |  | 283 | #DIV/0! |  | 134 | #DIV/0! |  | 183 | #DIV/0!
2012-11-26 | [18 empty] | 57 | 0 |  | 2 | 0 |  | 0.1 |  | 211 | #DIV/0! |  | 362 | #DIV/0! |  | 28 | #DIV/0!
2012-11-27 | [18 empty] | 58 | 0 |  | 2 | 0 |  | 0.1 |  | 126 | #DIV/0! |  | 28 | #DIV/0! |  | 285 | #DIV/0!
2012-11-28 | [18 empty] | 59 | 0 |  | 2 | 0 |  | 0.1 |  | 44 | #DIV/0! |  | 258 | #DIV/0! |  | 109 | #DIV/0!
2012-11-29 | [18 empty] | 60 | 0 |  | 2 | 0 |  | 0.1 |  | 241 | #DIV/0! |  | 360 | #DIV/0! |  | 170 | #DIV/0!
2012-11-30 | [18 empty] | 61 | 0 |  | 2 | 0 |  | 0.1 |  | 13 | #DIV/0! |  | 170 | #DIV/0! |  | 248 | #DIV/0!
2012-12-01 | [18 empty] | 62 | 0 |  | 2 | 0 |  | 0.1 |  | 224 | #DIV/0! |  |  | #DIV/0! |  | 214 | #DIV/0!
2012-12-02 | [18 empty] | 63 | 0 |  | 2 | 0 |  | 0.1 |  | 199 | #DIV/0! |  | 341 | #DIV/0! |  | 48 | #DIV/0!
2012-12-03 | [18 empty] | 64 | 0 |  | 2 | 0 |  | 0.1 |  | 259 | #DIV/0! |  | 7 | #DIV/0! |  | 341 | #DIV/0!
2012-12-04 | [18 empty] | 65 | 0 |  | 2 | 0 |  | 0.1 |  | 112 | #DIV/0! |  | 15 | #DIV/0! |  | 355 | #DIV/0!
2012-12-05 | [18 empty] | 66 | 0 |  | 2 | 0 |  | 0.1 |  | 358 | #DIV/0! |  | 117 | #DIV/0! |  | 197 | #DIV/0!
2012-12-06 | [18 empty] | 67 | 0 |  | 2 | 0 |  | 0.1 |  | 105 | #DIV/0! |  | 45 | #DIV/0! |  | 325 | #DIV/0!
2012-12-07 | [18 empty] | 68 | 0 |  | 2 | 0 |  | 0.1 |  | 250 | #DIV/0! |  | 144 | #DIV/0! |  | 147 | #DIV/0!
2012-12-08 | [18 empty] | 69 | 0 |  | 2 | 0 |  | 0.1 |  | 277 | #DIV/0! |  | 68 | #DIV/0! |  | 26 | #DIV/0!
2012-12-09 | [18 empty] | 70 | 0 |  | 2 | 0 |  | 0.1 |  | 189 | #DIV/0! |  | 66 | #DIV/0! |  | 38 | #DIV/0!
2012-12-10 | [18 empty] | 71 | 0 |  | 2 | 0 |  | 0.1 |  | 209 | #DIV/0! |  | 256 | #DIV/0! |  | 290 | #DIV/0!
2012-12-11 | [18 empty] | 72 | 0 |  | 2 | 0 |  | 0.1 |  | 362 | #DIV/0! |  | 3 | #DIV/0! |  | 71 | #DIV/0!
2012-12-12 | [18 empty] | 73 | 0 |  | 2 | 0 |  | 0.1 |  | 7 | #DIV/0! |  | 84 | #DIV/0! |  | 133 | #DIV/0!
2012-12-13 | [18 empty] | 74 | 0 |  | 2 | 0 |  | 0.1 |  | 24 | #DIV/0! |  | 103 | #DIV/0! |  | 113 | #DIV/0!
2012-12-14 | [18 empty] | 75 | 0 |  | 2 | 0 |  | 0.1 |  | 102 | #DIV/0! |  | 318 | #DIV/0! |  | 2 | #DIV/0!
2012-12-15 | [18 empty] | 76 | 0 |  | 2 | 0 |  | 0.1 |  | 38 | #DIV/0! |  | 262 | #DIV/0! |  | 63 | #DIV/0!
2012-12-16 | [18 empty] | 77 | 0 |  | 2 | 0 |  | 0.1 |  | 290 | #DIV/0! |  | 157 | #DIV/0! |  | 164 | #DIV/0!
2012-12-17 | [18 empty] | 78 | 0 |  | 2 | 0 |  | 0.1 |  | 72 | #DIV/0! |  | 291 | #DIV/0! |  | 157 | #DIV/0!
2012-12-18 | [18 empty] | 79 | 0 |  | 2 | 0 |  | 0.1 |  | 28 | #DIV/0! |  | 342 | #DIV/0! |  | 137 | #DIV/0!
2012-12-19 | [18 empty] | 80 | 0 |  | 2 | 0 |  | 0.1 |  | 270 | #DIV/0! |  | 159 | #DIV/0! |  | 255 | #DIV/0!
2012-12-20 | [18 empty] | 81 | 0 |  | 2 | 0 |  | 0.1 |  | 49 | #DIV/0! |  | 231 | #DIV/0! |  | 55 | #DIV/0!
2012-12-21 | [18 empty] | 82 | 0 |  | 2 | 0 |  | 0.1 |  | 87 | #DIV/0! |  | 82 | #DIV/0! |  | 257 | #DIV/0!
2012-12-22 | [18 empty] | 83 | 0 |  | 2 | 0 |  | 0.1 |  | 113 | #DIV/0! |  | 73 | #DIV/0! |  | 346 | #DIV/0!
2012-12-23 | [18 empty] | 84 | 0 |  | 2 | 0 |  | 0.1 |  | 60 | #DIV/0! |  | 109 | #DIV/0! |  | 333 | #DIV/0!
2012-12-24 | [18 empty] | 85 | 0 |  | 2 | 0 |  | 0.1 |  | 345 | #DIV/0! |  | 197 | #DIV/0! |  | 304 | #DIV/0!
2012-12-25 | [18 empty] | 86 | 0 |  | 2 | 0 |  | 0.1 |  | 43 | #DIV/0! |  | 193 | #DIV/0! |  | 152 | #DIV/0!
2012-12-26 | [18 empty] | 87 | 0 |  | 2 | 0 |  | 0.1 |  | 240 | #DIV/0! |  | 319 | #DIV/0! |  |  | #DIV/0!
2012-12-27 | [18 empty] | 88 | 0 |  | 2 | 0 |  | 0.1 |  | 15 | #DIV/0! |  | 336 | #DIV/0! |  | 145 | #DIV/0!
2012-12-28 | [18 empty] | 89 | 0 |  | 2 | 0 |  | 0.1 |  | 338 | #DIV/0! |  | 277 | #DIV/0! |  | 11 | #DIV/0!
2012-12-29 | [18 empty] | 90 | 0 |  | 2 | 0 |  | 0.1 |  | 77 | #DIV/0! |  | 223 | #DIV/0! |  | 322 | #DIV/0!
2012-12-30 | [18 empty] | 91 | 0 |  | 2 | 0 |  | 0.1 |  | 222 | #DIV/0! |  | 361 | #DIV/0! |  | 90 | #DIV/0!
2012-12-31 | [18 empty] | 92 | 0 |  | 2 | 0 |  | 0.1 |  | 349 | #DIV/0! |  | 283 | #DIV/0! |  | 44 | #DIV/0!
2013-01-01 | [18 empty] | 93 | 0 |  | 2 | 0 |  | 0.1 |  | 324 | #DIV/0! |  | 285 | #DIV/0! |  | 18 | #DIV/0!
2013-01-02 | [18 empty] | 94 | 0 |  | 2 | 0 |  | 0.1 |  | 160 | #DIV/0! |  | 239 | #DIV/0! |  | 357 | #DIV/0!
2013-01-03 | [18 empty] | 95 | 0 |  | 2 | 0 |  | 0.1 |  | 331 | #DIV/0! |  | 6 | #DIV/0! |  | 91 | #DIV/0!
2013-01-04 | [18 empty] | 96 | 0 |  | 2 | 0 |  | 0.1 |  | 249 | #DIV/0! |  | 297 | #DIV/0! |  | 200 | #DIV/0!
2013-01-05 | [18 empty] | 97 | 0 |  | 2 | 0 |  | 0.1 |  | 3 | #DIV/0! |  | 71 | #DIV/0! |  | 142 | #DIV/0!
2013-01-06 | [18 empty] | 98 | 0 |  | 2 | 0 |  | 0.1 |  | 333 | #DIV/0! |  | 38 | #DIV/0! |  | 191 | #DIV/0!
2013-01-07 | [18 empty] | 99 | 0 |  | 2 | 0 |  | 0.1 |  | 247 | #DIV/0! |  | 107 | #DIV/0! |  | 286 | #DIV/0!
2013-01-08 | [18 empty] | 100 | 0 |  | 2 | 0 |  | 0.1 |  | 294 | #DIV/0! |  | 286 | #DIV/0! |  | 244 | #DIV/0!
2013-01-09 | [18 empty] | 101 | 0 |  | 2 | 0 |  | 0.1 |  | 45 | #DIV/0! |  | 87 | #DIV/0! |  | 272 | #DIV/0!
2013-01-10 | [18 empty] | 102 | 0 |  | 2 | 0 |  | 0.1 |  | 344 | #DIV/0! |  | 178 | #DIV/0! |  | 316 | #DIV/0!
2013-01-11 | [18 empty] | 103 | 0 |  | 2 | 0 |  | 0.1 |  | 137 | #DIV/0! |  | 53 | #DIV/0! |  | 143 | #DIV/0!
2013-01-12 | [18 empty] | 104 | 0 |  | 2 | 0 |  | 0.1 |  | 84 | #DIV/0! |  | 35 | #DIV/0! |  | 123 | #DIV/0!
2013-01-13 | [18 empty] | 105 | 0 |  | 2 | 0 |  | 0.1 |  | 262 | #DIV/0! |  | 4 | #DIV/0! |  | 68 | #DIV/0!
2013-01-14 | [18 empty] | 106 | 0 |  | 2 | 0 |  | 0.1 |  | 238 | #DIV/0! |  | 320 | #DIV/0! |  | 284 | #DIV/0!
2013-01-15 | [18 empty] | 107 | 0 |  | 2 | 0 |  | 0.1 |  | 104 | #DIV/0! |  | 155 | #DIV/0! |  | 92 | #DIV/0!
2013-01-16 | [18 empty] | 108 | 0 |  | 2 | 0 |  | 0.1 |  | 161 | #DIV/0! |  | 31 | #DIV/0! |  | 14 | #DIV/0!
2013-01-17 | [18 empty] | 109 | 0 |  | 2 | 0 |  | 0.1 |  | 27 | #DIV/0! |  | 130 | #DIV/0! |  | 307 | #DIV/0!
2013-01-18 | [18 empty] | 110 | 0 |  | 2 | 0 |  | 0.1 |  | 234 | #DIV/0! |  | 229 | #DIV/0! |  | 306 | #DIV/0!
2013-01-19 | [18 empty] | 111 | 0 |  | 2 | 0 |  | 0.1 |  | 336 | #DIV/0! |  | 108 | #DIV/0! |  | 10 | #DIV/0!
2013-01-20 | [18 empty] | 112 | 0 |  | 2 | 0 |  | 0.1 |  | 242 | #DIV/0! |  | 218 | #DIV/0! |  | 268 | #DIV/0!
2013-01-21 | [18 empty] | 113 | 0 |  | 2 | 0 |  | 0.1 |  | 308 | #DIV/0! |  | 44 | #DIV/0! |  | 118 | #DIV/0!
2013-01-22 | [18 empty] | 114 | 0 |  | 2 | 0 |  | 0.1 |  | 136 | #DIV/0! |  | 333 | #DIV/0! |  | 37 | #DIV/0!
2013-01-23 | [18 empty] | 115 | 0 |  | 2 | 0 |  | 0.1 |  | 86 | #DIV/0! |  | 358 | #DIV/0! |  | 58 | #DIV/0!
2013-01-24 | [18 empty] | 116 | 0 |  | 2 | 0 |  | 0.1 |  | 143 | #DIV/0! |  | 352 | #DIV/0! |  | 192 | #DIV/0!
2013-01-25 | [18 empty] | 117 | 0 |  | 2 | 0 |  | 0.1 |  | 227 | #DIV/0! |  | 224 | #DIV/0! |  | 196 | #DIV/0!
2013-01-26 | [18 empty] | 118 | 0 |  | 2 | 0 |  | 0.1 |  | 35 | #DIV/0! |  | 69 | #DIV/0! |  | 348 | #DIV/0!
2013-01-27 | [18 empty] | 119 | 0 |  | 2 | 0 |  | 0.1 |  | 171 | #DIV/0! |  | 172 | #DIV/0! |  | 60 | #DIV/0!
2013-01-28 | [18 empty] | 120 | 0 |  | 2 | 0 |  | 0.1 |  | 244 | #DIV/0! |  | 124 | #DIV/0! |  | 206 | #DIV/0!
2013-01-29 | [18 empty] | 121 | 0 |  | 2 | 0 |  | 0.1 |  | 212 | #DIV/0! |  | 187 | #DIV/0! |  | 335 | #DIV/0!
2013-01-30 | [18 empty] | 122 | 0 |  | 2 | 0 |  | 0.1 |  | 50 | #DIV/0! |  | 145 | #DIV/0! |  | 216 | #DIV/0!
2013-01-31 | [18 empty] | 123 | 0 |  | 2 | 0 |  | 0.1 |  | 59 | #DIV/0! |  | 260 | #DIV/0! |  | 277 | #DIV/0!
2013-02-01 | [18 empty] | 124 | 0 |  | 2 | 0 |  | 0.1 |  | 326 | #DIV/0! |  | 57 | #DIV/0! |  | 57 | #DIV/0!
2013-02-02 | [18 empty] | 125 | 0 |  | 2 | 0 |  | 0.1 |  | 219 | #DIV/0! |  | 202 | #DIV/0! |  | 134 | #DIV/0!
2013-02-03 | [18 empty] | 126 | 0 |  | 2 | 0 |  | 0.1 |  | 307 | #DIV/0! |  | 75 | #DIV/0! |  | 314 | #DIV/0!
2013-02-04 | [18 empty] | 127 | 0 |  | 2 | 0 |  | 0.1 |  | 228 | #DIV/0! |  | 92 | #DIV/0! |  | 339 | #DIV/0!
2013-02-05 | [18 empty] | 128 | 0 |  | 2 | 0 |  | 0.1 |  | 182 | #DIV/0! |  | 232 | #DIV/0! |  | 231 | #DIV/0!
2013-02-06 | [18 empty] | 129 | 0 |  | 2 | 0 |  | 0.1 |  | 285 | #DIV/0! |  | 242 | #DIV/0! |  | 263 | #DIV/0!
2013-02-07 | [18 empty] | 130 | 0 |  | 2 | 0 |  | 0.1 |  | 229 | #DIV/0! |  | 220 | #DIV/0! |  | 207 | #DIV/0!
2013-02-08 | [18 empty] | 131 | 0 |  | 2 | 0 |  | 0.1 |  | 181 | #DIV/0! |  | 79 | #DIV/0! |  | 4 | #DIV/0!
2013-02-09 | [18 empty] | 132 | 0 |  | 2 | 0 |  | 0.1 |  | 33 | #DIV/0! |  | 255 | #DIV/0! |  | 262 | #DIV/0!
2013-02-10 | [18 empty] | 133 | 0 |  | 2 | 0 |  | 0.1 |  | 26 | #DIV/0! |  | 292 | #DIV/0! |  | 75 | #DIV/0!
2013-02-11 | [18 empty] | 134 | 0 |  | 2 | 0 |  | 0.1 |  | 56 | #DIV/0! |  | 300 | #DIV/0! |  | 6 | #DIV/0!
2013-02-12 | [18 empty] | 135 | 0 |  | 2 | 0 |  | 0.1 |  | 280 | #DIV/0! |  | 179 | #DIV/0! |  | 265 | #DIV/0!
2013-02-13 | [18 empty] | 136 | 0 |  | 2 | 0 |  | 0.1 |  | 173 | #DIV/0! |  | 329 | #DIV/0! |  | 298 | #DIV/0!
2013-02-14 | [18 empty] | 137 | 0 |  | 2 | 0 |  | 0.1 |  | 106 | #DIV/0! |  | 355 | #DIV/0! |  | 297 | #DIV/0!
2013-02-15 | [18 empty] | 138 | 0 |  | 2 | 0 |  | 0.1 |  | 360 | #DIV/0! |  | 288 | #DIV/0! |  | 99 | #DIV/0!
2013-02-16 | [18 empty] | 139 | 0 |  | 2 | 0 |  | 0.1 |  | 340 | #DIV/0! |  | 89 | #DIV/0! |  | 208 | #DIV/0!
2013-02-17 | [18 empty] | 140 | 0 |  | 2 | 0 |  | 0.1 |  | 120 | #DIV/0! |  | 36 | #DIV/0! |  | 64 | #DIV/0!
2013-02-18 | [18 empty] | 141 | 0 |  | 2 | 0 |  | 0.1 |  | 48 | #DIV/0! |  | 104 | #DIV/0! |  | 15 | #DIV/0!
2013-02-19 | [18 empty] | 142 | 0 |  | 2 | 0 |  | 0.1 |  | 264 | #DIV/0! |  | 83 | #DIV/0! |  | 352 | #DIV/0!
2013-02-20 | [18 empty] | 143 | 0 |  | 2 | 0 |  | 0.1 |  | 11 | #DIV/0! |  | 102 | #DIV/0! |  | 250 | #DIV/0!
2013-02-21 | [18 empty] | 144 | 0 |  | 2 | 0 |  | 0.1 |  | 109 | #DIV/0! |  | 143 | #DIV/0! |  | 124 | #DIV/0!
2013-02-22 | [18 empty] | 145 | 0 |  | 2 | 0 |  | 0.1 |  | 184 | #DIV/0! |  | 261 | #DIV/0! |  | 154 | #DIV/0!
2013-02-23 | [18 empty] | 146 | 0 |  | 2 | 0 |  | 0.1 |  | 54 | #DIV/0! |  | 175 | #DIV/0! |  | 83 | #DIV/0!
2013-02-24 | [18 empty] | 147 | 0 |  | 2 | 0 |  | 0.1 |  | 208 | #DIV/0! |  | 234 | #DIV/0! |  | 117 | #DIV/0!
2013-02-25 | [18 empty] | 148 | 0 |  | 2 | 0 |  | 0.1 |  | 64 | #DIV/0! |  | 293 | #DIV/0! |  | 360 | #DIV/0!
2013-02-26 | [18 empty] | 149 | 0 |  | 2 | 0 |  | 0.1 |  | 268 | #DIV/0! |  | 63 | #DIV/0! |  | 356 | #DIV/0!
2013-02-27 | [18 empty] | 150 | 0 |  | 2 | 0 |  | 0.1 |  | 37 | #DIV/0! |  | 30 | #DIV/0! |  | 35 | #DIV/0!
2013-02-28 | [18 empty] | 151 | 0 |  | 2 | 0 |  | 0.1 |  | 298 | #DIV/0! |  | 215 | #DIV/0! |  | 305 | #DIV/0!
2013-03-01 | [18 empty] | 152 | 0 |  | 2 | 0 |  | 0.1 |  | 177 | #DIV/0! |  | 248 | #DIV/0! |  | 275 | #DIV/0!
2013-03-02 | [18 empty] | 153 | 0 |  | 2 | 0 |  | 0.1 |  | 148 | #DIV/0! |  | 21 | #DIV/0! |  | 340 | #DIV/0!
2013-03-03 | [18 empty] | 154 | 0 |  | 2 | 0 |  | 0.1 |  | 279 | #DIV/0! |  | 85 | #DIV/0! |  | 220 | #DIV/0!
2013-03-04 | [18 empty] | 155 | 0 |  | 2 | 0 |  | 0.1 |  | 361 | #DIV/0! |  | 11 | #DIV/0! |  | 128 | #DIV/0!
2013-03-05 | [18 empty] | 156 | 0 |  | 2 | 0 |  | 0.1 |  | 4 | #DIV/0! |  | 339 | #DIV/0! |  | 243 | #DIV/0!
2013-03-06 | [18 empty] | 157 | 0 |  | 2 | 0 |  | 0.1 |  | 149 | #DIV/0! |  | 183 | #DIV/0! |  | 102 | #DIV/0!
2013-03-07 | [18 empty] | 158 | 0 |  | 2 | 0 |  | 0.1 |  | 365 | #DIV/0! |  | 39 | #DIV/0! |  | 135 | #DIV/0!
2013-03-08 | [18 empty] | 159 | 0 |  | 2 | 0 |  | 0.1 |  | 12 | #DIV/0! |  | 247 | #DIV/0! |  | 251 | #DIV/0!
2013-03-09 | [18 empty] | 160 | 0 |  | 2 | 0 |  | 0.1 |  | 29 | #DIV/0! |  | 132 | #DIV/0! |  | 181 | #DIV/0!
2013-03-10 | [18 empty] | 161 | 0 |  | 2 | 0 |  | 0.1 |  | 236 | #DIV/0! |  | 251 | #DIV/0! |  | 54 | #DIV/0!
2013-03-11 | [18 empty] | 162 | 0 |  | 2 | 0 |  | 0.1 |  | 237 | #DIV/0! |  | 51 | #DIV/0! |  | 45 | #DIV/0!
2013-03-12 | [18 empty] | 163 | 0 |  | 2 | 0 |  | 0.1 |  | 88 | #DIV/0! |  | 112 | #DIV/0! |  | 153 | #DIV/0!
2013-03-13 | [18 empty] | 164 | 0 |  | 2 | 0 |  | 0.1 |  | 135 | #DIV/0! |  | 72 | #DIV/0! |  | 301 | #DIV/0!
2013-03-14 | [18 empty] | 165 | 0 |  | 2 | 0 |  | 0.1 |  | 253 | #DIV/0! |  | 290 | #DIV/0! |  | 173 | #DIV/0!
2013-03-15 | [18 empty] | 166 | 0 |  | 2 | 0 |  | 0.1 |  | 167 | #DIV/0! |  | 312 | #DIV/0! |  | 256 | #DIV/0!
2013-03-16 | [18 empty] | 167 | 0 |  | 2 | 0 |  | 0.1 |  | 230 | #DIV/0! |  | 148 | #DIV/0! |  | 313 | #DIV/0!
2013-03-17 | [18 empty] | 168 | 0 |  | 2 | 0 |  | 0.1 |  | 363 | #DIV/0! |  | 26 | #DIV/0! |  | 323 | #DIV/0!
2013-03-18 | [18 empty] | 169 | 0 |  | 2 | 0 |  | 0.1 |  | 123 | #DIV/0! |  | 154 | #DIV/0! |  | 162 | #DIV/0!
2013-03-19 | [18 empty] | 170 | 0 |  | 2 | 0 |  | 0.1 |  | 282 | #DIV/0! |  | 151 | #DIV/0! |  | 127 | #DIV/0!
2013-03-20 | [18 empty] | 171 | 0 |  | 2 | 0 |  | 0.1 |  | 256 | #DIV/0! |  | 27 | #DIV/0! |  | 300 | #DIV/0!
2013-03-21 | [18 empty] | 172 | 0 |  | 2 | 0 |  | 0.1 |  | 55 | #DIV/0! |  | 196 | #DIV/0! |  | 228 | #DIV/0!
2013-03-22 | [18 empty] | 173 | 0 |  | 2 | 0 |  | 0.1 |  | 73 | #DIV/0! |  | 330 | #DIV/0! |  | 329 | #DIV/0!
2013-03-23 | [18 empty] | 174 | 0 |  | 2 | 0 |  | 0.1 |  | 40 | #DIV/0! |  | 74 | #DIV/0! |  | 74 | #DIV/0!
2013-03-24 | [18 empty] | 175 | 0 |  | 2 | 0 |  | 0.1 |  | 319 | #DIV/0! |  | 65 | #DIV/0! |  | 171 | #DIV/0!
2013-03-25 | [18 empty] | 176 | 0 |  | 2 | 0 |  | 0.1 |  | 300 | #DIV/0! |  | 174 | #DIV/0! |  | 303 | #DIV/0!
2013-03-26 | [18 empty] | 177 | 0 |  | 2 | 0 |  | 0.1 |  | 93 | #DIV/0! |  | 167 | #DIV/0! |  | 241 | #DIV/0!
2013-03-27 | [18 empty] | 178 | 0 |  | 2 | 0 |  | 0.1 |  | 267 | #DIV/0! |  | 222 | #DIV/0! |  | 16 | #DIV/0!
2013-03-28 | [18 empty] | 179 | 0 |  | 2 | 0 |  | 0.1 |  | 314 | #DIV/0! |  | 16 | #DIV/0! |  | 266 | #DIV/0!
2013-03-29 | [18 empty] | 180 | 0 |  | 2 | 0 |  | 0.1 |  | 246 | #DIV/0! |  | 123 | #DIV/0! |  | 112 | #DIV/0!
2013-03-30 | [18 empty] | 181 | 0 |  | 2 | 0 |  | 0.1 |  | 95 | #DIV/0! |  | 88 | #DIV/0! |  | 213 | #DIV/0!
2013-03-31 | [18 empty] | 182 | 0 |  | 2 | 0 |  | 0.1 |  | 141 | #DIV/0! |  | 12 | #DIV/0! |  | 52 | #DIV/0!
2013-04-01 | [18 empty] | 183 | 0 |  | 2 | 0 |  | 0.1 |  | 76 | #DIV/0! |  | 357 | #DIV/0! |  | 327 | #DIV/0!
2013-04-02 | [18 empty] | 184 | 0 |  | 2 | 0 |  | 0.1 |  | 257 | #DIV/0! |  | 80 | #DIV/0! |  | 291 | #DIV/0!
2013-04-03 | [18 empty] | 185 | 0 |  | 2 | 0 |  | 0.1 |  | 293 | #DIV/0! |  | 32 | #DIV/0! |  | 237 | #DIV/0!
2013-04-04 | [18 empty] | 186 | 0 |  | 2 | 0 |  | 0.1 |  | 132 | #DIV/0! |  | 163 | #DIV/0! |  | 82 | #DIV/0!
2013-04-05 | [18 empty] | 187 | 0 |  | 2 | 0 |  | 0.1 |  | 65 | #DIV/0! |  | 5 | #DIV/0! |  | 8 | #DIV/0!
2013-04-06 | [18 empty] | 188 | 0 |  | 2 | 0 |  | 0.1 |  | 286 | #DIV/0! |  | 294 | #DIV/0! |  | 311 | #DIV/0!
2013-04-07 | [18 empty] | 189 | 0 |  | 2 | 0 |  | 0.1 |  | 201 | #DIV/0! |  | 313 | #DIV/0! |  | 25 | #DIV/0!
2013-04-08 | [18 empty] | 190 | 0 |  | 2 | 0 |  | 0.1 |  | 317 | #DIV/0! |  | 115 | #DIV/0! |  | 294 | #DIV/0!
2013-04-09 | [18 empty] | 191 | 0 |  | 2 | 0 |  | 0.1 |  | 239 | #DIV/0! |  | 24 | #DIV/0! |  | 159 | #DIV/0!
2013-04-10 | [18 empty] | 192 | 0 |  | 2 | 0 |  | 0.1 |  | 341 | #DIV/0! |  | 267 | #DIV/0! |  | 121 | #DIV/0!
2013-04-11 | [18 empty] | 193 | 0 |  | 2 | 0 |  | 0.1 |  | 289 | #DIV/0! |  | 168 | #DIV/0! |  | 179 | #DIV/0!
2013-04-12 | [18 empty] | 194 | 0 |  | 2 | 0 |  | 0.1 |  | 115 | #DIV/0! |  | 60 | #DIV/0! |  | 234 | #DIV/0!
2013-04-13 | [18 empty] | 195 | 0 |  | 2 | 0 |  | 0.1 |  | 364 | #DIV/0! |  | 176 | #DIV/0! |  | 125 | #DIV/0!
2013-04-14 | [18 empty] | 196 | 0 |  | 2 | 0 |  | 0.1 |  | 169 | #DIV/0! |  | 20 | #DIV/0! |  | 267 | #DIV/0!
2013-04-15 | [18 empty] | 197 | 0 |  | 2 | 0 |  | 0.1 |  | 192 | #DIV/0! |  | 114 | #DIV/0! |  | 13 | #DIV/0!
2013-04-16 | [18 empty] | 198 | 0 |  | 2 | 0 |  | 0.1 |  | 89 | #DIV/0! |  | 271 | #DIV/0! |  | 120 | #DIV/0!
2013-04-17 | [18 empty] | 199 | 0 |  | 2 | 0 |  | 0.1 |  | 125 | #DIV/0! |  | 23 | #DIV/0! |  | 193 | #DIV/0!
2013-04-18 | [18 empty] | 200 | 0 |  | 2 | 0 |  | 0.1 |  | 99 | #DIV/0! |  | 363 | #DIV/0! |  | 227 | #DIV/0!
2013-04-19 | [18 empty] | 201 | 0 |  | 2 | 0 |  | 0.1 |  | 306 | #DIV/0! |  | 325 | #DIV/0! |  | 258 | #DIV/0!
2013-04-20 | [18 empty] | 202 | 0 |  | 2 | 0 |  | 0.1 |  | 146 | #DIV/0! |  | 226 | #DIV/0! |  | 129 | #DIV/0!
2013-04-21 | [18 empty] | 203 | 0 |  | 2 | 0 |  | 0.1 |  | 2 | #DIV/0! |  | 192 | #DIV/0! |  | 107 | #DIV/0!
2013-04-22 | [18 empty] | 204 | 0 |  | 2 | 0 |  | 0.1 |  | 96 | #DIV/0! |  | 50 | #DIV/0! |  | 24 | #DIV/0!
2013-04-23 | [18 empty] | 205 | 0 |  | 2 | 0 |  | 0.1 |  | 23 | #DIV/0! |  | 153 | #DIV/0! |  | 270 | #DIV/0!
2013-04-24 | [18 empty] | 206 | 0 |  | 2 | 0 |  | 0.1 |  | 131 | #DIV/0! |  | 94 | #DIV/0! |  | 126 | #DIV/0!
2013-04-25 | [18 empty] | 207 | 0 |  | 2 | 0 |  | 0.1 |  | 21 | #DIV/0! |  | 303 | #DIV/0! |  | 187 | #DIV/0!
2013-04-26 | [18 empty] | 208 | 0 |  | 2 | 0 |  | 0.1 |  | 151 | #DIV/0! |  | 238 | #DIV/0! |  | 66 | #DIV/0!
2013-04-27 | [18 empty] | 209 | 0 |  | 2 | 0 |  | 0.1 |  | 217 | #DIV/0! |  | 206 | #DIV/0! |  | 296 | #DIV/0!
2013-04-28 | [18 empty] | 210 | 0 |  | 2 | 0 |  | 0.1 |  | 226 | #DIV/0! |  | 129 | #DIV/0! |  | 56 | #DIV/0!
2013-04-29 | [18 empty] | 211 | 0 |  | 2 | 0 |  | 0.1 |  | 145 | #DIV/0! |  | 29 | #DIV/0! |  | 175 | #DIV/0!
2013-04-30 | [18 empty] | 212 | 0 |  | 2 | 0 |  | 0.1 |  | 107 | #DIV/0! |  | 263 | #DIV/0! |  | 342 | #DIV/0!
2013-05-01 | [18 empty] | 213 | 0 |  | 2 | 0 |  | 0.1 |  | 357 | #DIV/0! |  | 189 | #DIV/0! |  | 161 | #DIV/0!
2013-05-02 | [18 empty] | 214 | 0 |  | 2 | 0 |  | 0.1 |  | 175 | #DIV/0! |  | 120 | #DIV/0! |  | 254 | #DIV/0!
2013-05-03 | [18 empty] | 215 | 0 |  | 2 | 0 |  | 0.1 |  | 196 | #DIV/0! |  | 106 | #DIV/0! |  | 215 | #DIV/0!
2013-05-04 | [18 empty] | 216 | 0 |  | 2 | 0 |  | 0.1 |  | 355 | #DIV/0! |  | 351 | #DIV/0! |  | 343 | #DIV/0!
2013-05-05 | [18 empty] | 217 | 0 |  | 2 | 0 |  | 0.1 |  | 194 | #DIV/0! |  | 327 | #DIV/0! |  | 309 | #DIV/0!
2013-05-06 | [18 empty] | 218 | 0 |  | 2 | 0 |  | 0.1 |  | 200 | #DIV/0! |  | 347 | #DIV/0! |  | 190 | #DIV/0!
2013-05-07 | [18 empty] | 219 | 0 |  | 2 | 0 |  | 0.1 |  | 18 | #DIV/0! |  | 275 | #DIV/0! |  | 138 | #DIV/0!
2013-05-08 | [18 empty] | 220 | 0 |  | 2 | 0 |  | 0.1 |  | 216 | #DIV/0! |  | 282 | #DIV/0! |  | 150 | #DIV/0!
2013-05-09 | [18 empty] | 221 | 0 |  | 2 | 0 |  | 0.1 |  | 46 | #DIV/0! |  | 158 | #DIV/0! |  | 218 | #DIV/0!
2013-05-10 | [18 empty] | 222 | 0 |  | 2 | 0 |  | 0.1 |  | 302 | #DIV/0! |  | 138 | #DIV/0! |  | 259 | #DIV/0!
2013-05-11 | [18 empty] | 223 | 0 |  | 2 | 0 |  | 0.1 |  | 19 | #DIV/0! |  | 353 | #DIV/0! |  | 358 | #DIV/0!
2013-05-12 | [18 empty] | 224 | 0 |  | 2 | 0 |  | 0.1 |  | 274 | #DIV/0! |  | 67 | #DIV/0! |  | 280 | #DIV/0!
2013-05-13 | [18 empty] | 225 | 0 |  | 2 | 0 |  | 0.1 |  | 134 | #DIV/0! |  | 317 | #DIV/0! |  | 347 | #DIV/0!
2013-05-14 | [18 empty] | 226 | 0 |  | 2 | 0 |  | 0.1 |  | 251 | #DIV/0! |  | 199 | #DIV/0! |  | 93 | #DIV/0!
2013-05-15 | [18 empty] | 227 | 0 |  | 2 | 0 |  | 0.1 |  | 301 | #DIV/0! |  | 58 | #DIV/0! |  | 46 | #DIV/0!
2013-05-16 | [18 empty] | 228 | 0 |  | 2 | 0 |  | 0.1 |  | 31 | #DIV/0! |  | 142 | #DIV/0! |  | 40 | #DIV/0!
2013-05-17 | [18 empty] | 229 | 0 |  | 2 | 0 |  | 0.1 |  | 265 | #DIV/0! |  | 184 | #DIV/0! |  | 39 | #DIV/0!
2013-05-18 | [18 empty] | 230 | 0 |  | 2 | 0 |  | 0.1 |  | 332 | #DIV/0! |  | 56 | #DIV/0! |  | 287 | #DIV/0!
2013-05-19 | [18 empty] | 231 | 0 |  | 2 | 0 |  | 0.1 |  | 255 | #DIV/0! |  | 348 | #DIV/0! |  | 88 | #DIV/0!
2013-05-20 | [18 empty] | 232 | 0 |  | 2 | 0 |  | 0.1 |  | 52 | #DIV/0! |  | 81 | #DIV/0! |  | 198 | #DIV/0!
2013-05-21 | [18 empty] | 233 | 0 |  | 2 | 0 |  | 0.1 |  | 97 | #DIV/0! |  | 331 | #DIV/0! |  | 202 | #DIV/0!
2013-05-22 | [18 empty] | 234 | 0 |  | 2 | 0 |  | 0.1 |  | 329 | #DIV/0! |  | 186 | #DIV/0! |  | 276 | #DIV/0!
2013-05-23 | [18 empty] | 235 | 0 |  | 2 | 0 |  | 0.1 |  | 17 | #DIV/0! |  | 150 | #DIV/0! |  | 205 | #DIV/0!
2013-05-24 | [18 empty] | 236 | 0 |  | 2 | 0 |  | 0.1 |  | 176 | #DIV/0! |  | 308 | #DIV/0! |  | 33 | #DIV/0!
2013-05-25 | [18 empty] | 237 | 0 |  | 2 | 0 |  | 0.1 |  | 122 | #DIV/0! |  | 188 | #DIV/0! |  | 70 | #DIV/0!
2013-05-26 | [18 empty] | 238 | 0 |  | 2 | 0 |  | 0.1 |  | 311 | #DIV/0! |  | 62 | #DIV/0! |  | 185 | #DIV/0!
2013-05-27 | [18 empty] | 239 | 0 |  | 2 | 0 |  | 0.1 |  | 190 | #DIV/0! |  | 279 | #DIV/0! |  | 186 | #DIV/0!
2013-05-28 | [18 empty] | 240 | 0 |  | 2 | 0 |  | 0.1 |  | 214 | #DIV/0! |  | 171 | #DIV/0! |  | 43 | #DIV/0!
2013-05-29 | [18 empty] | 241 | 0 |  | 2 | 0 |  | 0.1 |  | 233 | #DIV/0! |  | 98 | #DIV/0! |  | 20 | #DIV/0!
2013-05-30 | [18 empty] | 242 | 0 |  | 2 | 0 |  | 0.1 |  | 309 | #DIV/0! |  | 201 | #DIV/0! |  | 47 | #DIV/0!
2013-05-31 | [18 empty] | 243 | 0 |  | 2 | 0 |  | 0.1 |  | 322 | #DIV/0! |  | 207 | #DIV/0! |  | 31 | #DIV/0!
2013-06-01 | [18 empty] | 244 | 0 |  | 2 | 0 |  | 0.1 |  | 10 | #DIV/0! |  | 203 | #DIV/0! |  | 361 | #DIV/0!
2013-06-02 | [18 empty] | 245 | 0 |  | 2 | 0 |  | 0.1 |  | 9 | #DIV/0! |  | 126 | #DIV/0! |  | 136 | #DIV/0!
2013-06-03 | [18 empty] | 246 | 0 |  | 2 | 0 |  | 0.1 |  | 16 | #DIV/0! |  | 61 | #DIV/0! |  | 354 | #DIV/0!
2013-06-04 | [18 empty] | 247 | 0 |  | 2 | 0 |  | 0.1 |  | 121 | #DIV/0! |  | 227 | #DIV/0! |  | 224 | #DIV/0!
2013-06-05 | [18 empty] | 248 | 0 |  | 2 | 0 |  | 0.1 |  | 47 | #DIV/0! |  | 259 | #DIV/0! |  | 41 | #DIV/0!
2013-06-06 | [18 empty] | 249 | 0 |  | 2 | 0 |  | 0.1 |  | 348 | #DIV/0! |  | 298 | #DIV/0! |  | 230 | #DIV/0!
2013-06-07 | [18 empty] | 250 | 0 |  | 2 | 0 |  | 0.1 |  | 218 | #DIV/0! |  | 13 | #DIV/0! |  | 5 | #DIV/0!
2013-06-08 | [18 empty] | 251 | 0 |  | 2 | 0 |  | 0.1 |  | 231 | #DIV/0! |  | 78 | #DIV/0! |  | 312 | #DIV/0!
2013-06-09 | [18 empty] | 252 | 0 |  | 2 | 0 |  | 0.1 |  | 62 | #DIV/0! |  | 250 | #DIV/0! |  | 141 | #DIV/0!
2013-06-10 | [18 empty] | 253 | 0 |  | 2 | 0 |  | 0.1 |  | 254 | #DIV/0! |  | 122 | #DIV/0! |  | 1 | #DIV/0!
2013-06-11 | [18 empty] | 254 | 0 |  | 2 | 0 |  | 0.1 |  | 153 | #DIV/0! |  | 237 | #DIV/0! |  | 221 | #DIV/0!
2013-06-12 | [18 empty] | 255 | 0 |  | 2 | 0 |  | 0.1 |  | 318 | #DIV/0! |  | 332 | #DIV/0! |  | 364 | #DIV/0!
2013-06-13 | [18 empty] | 256 | 0 |  | 2 | 0 |  | 0.1 |  | 198 | #DIV/0! |  | 299 | #DIV/0! |  | 252 | #DIV/0!
2013-06-14 | [18 empty] | 257 | 0 |  | 2 | 0 |  | 0.1 |  | 245 | #DIV/0! |  | 216 | #DIV/0! |  | 89 | #DIV/0!
2013-06-15 | [18 empty] | 258 | 0 |  | 2 | 0 |  | 0.1 |  | 359 | #DIV/0! |  | 70 | #DIV/0! |  | 240 | #DIV/0!
2013-06-16 | [18 empty] | 259 | 0 |  | 2 | 0 |  | 0.1 |  | 305 | #DIV/0! |  | 162 | #DIV/0! |  | 336 | #DIV/0!
2013-06-17 | [18 empty] | 260 | 0 |  | 2 | 0 |  | 0.1 |  | 82 | #DIV/0! |  | 133 | #DIV/0! |  | 223 | #DIV/0!
2013-06-18 | [18 empty] | 261 | 0 |  | 2 | 0 |  | 0.1 |  | 25 | #DIV/0! |  | 359 | #DIV/0! |  | 96 | #DIV/0!
2013-06-19 | [18 empty] | 262 | 0 |  | 2 | 0 |  | 0.1 |  | 41 | #DIV/0! |  | 46 | #DIV/0! |  | 172 | #DIV/0!
2013-06-20 | [18 empty] | 263 | 0 |  | 2 | 0 |  | 0.1 |  | 278 | #DIV/0! |  | 93 | #DIV/0! |  | 261 | #DIV/0!
2013-06-21 | [18 empty] | 264 | 0 |  | 2 | 0 |  | 0.1 |  | 14 | #DIV/0! |  | 37 | #DIV/0! |  | 209 | #DIV/0!
2013-06-22 | [18 empty] | 265 | 0 |  | 2 | 0 |  | 0.1 |  | 170 | #DIV/0! |  | 346 | #DIV/0! |  | 32 | #DIV/0!
2013-06-23 | [18 empty] | 266 | 0 |  | 2 | 0 |  | 0.1 |  | 74 | #DIV/0! |  | 49 | #DIV/0! |  | 310 | #DIV/0!
2013-06-24 | [18 empty] | 267 | 0 |  | 2 | 0 |  | 0.1 |  | 30 | #DIV/0! |  | 268 | #DIV/0! |  | 293 | #DIV/0!
2013-06-25 | [18 empty] | 268 | 0 |  | 2 | 0 |  | 0.1 |  | 263 | #DIV/0! |  | 307 | #DIV/0! |  | 108 | #DIV/0!
2013-06-26 | [18 empty] | 269 | 0 |  | 2 | 0 |  | 0.1 |  | 68 | #DIV/0! |  | 139 | #DIV/0! |  | 232 | #DIV/0!
2013-06-27 | [18 empty] | 270 | 0 |  | 2 | 0 |  | 0.1 |  | 271 | #DIV/0! |  | 182 | #DIV/0! |  | 331 | #DIV/0!
2013-06-28 | [18 empty] | 271 | 0 |  | 2 | 0 |  | 0.1 |  | 310 | #DIV/0! |  | 314 | #DIV/0! |  | 34 | #DIV/0!
2013-06-29 | [18 empty] | 272 | 0 |  | 2 | 0 |  | 0.1 |  | 232 | #DIV/0! |  | 34 | #DIV/0! |  | 100 | #DIV/0!
2013-06-30 | [18 empty] | 273 | 0 |  | 2 | 0 |  | 0.1 |  | 119 | #DIV/0! |  | 322 | #DIV/0! |  | 236 | #DIV/0!
2013-07-01 | [18 empty] | 274 | 0 |  | 2 | 0 |  | 0.1 |  | 1 | #DIV/0! |  | 228 | #DIV/0! |  | 27 | #DIV/0!
2013-07-02 | [18 empty] | 275 | 0 |  | 2 | 0 |  | 0.1 |  | 347 | #DIV/0! |  | 326 | #DIV/0! |  | 73 | #DIV/0!
2013-07-03 | [18 empty] | 276 | 0 |  | 2 | 0 |  | 0.1 |  | 292 | #DIV/0! |  | 181 | #DIV/0! |  | 199 | #DIV/0!
2013-07-04 | [18 empty] | 277 | 0 |  | 2 | 0 |  | 0.1 |  | 53 | #DIV/0! |  | 212 | #DIV/0! |  | 362 | #DIV/0!
2013-07-05 | [18 empty] | 278 | 0 |  | 2 | 0 |  | 0.1 |  | 235 | #DIV/0! |  | 116 | #DIV/0! |  | 148 | #DIV/0!
2013-07-06 | [18 empty] | 279 | 0 |  | 2 | 0 |  | 0.1 |  | 117 | #DIV/0! |  | 349 | #DIV/0! |  | 278 | #DIV/0!
2013-07-07 | [18 empty] | 280 | 0 |  | 2 | 0 |  | 0.1 |  | 70 | #DIV/0! |  | 338 | #DIV/0! |  | 103 | #DIV/0!
2013-07-08 | [18 empty] | 281 | 0 |  | 2 | 0 |  | 0.1 |  | 346 | #DIV/0! |  | 91 | #DIV/0! |  | 353 | #DIV/0!
2013-07-09 | [18 empty] | 282 | 0 |  | 2 | 0 |  | 0.1 |  | 154 | #DIV/0! |  | 295 | #DIV/0! |  | 274 | #DIV/0!
2013-07-10 | [18 empty] | 283 | 0 |  | 2 | 0 |  | 0.1 |  | 187 | #DIV/0! |  | 233 | #DIV/0! |  | 299 | #DIV/0!
2013-07-11 | [18 empty] | 284 | 0 |  | 2 | 0 |  | 0.1 |  | 269 | #DIV/0! |  | 274 | #DIV/0! |  | 30 | #DIV/0!
2013-07-12 | [18 empty] | 285 | 0 |  | 2 | 0 |  | 0.1 |  | 138 | #DIV/0! |  | 131 | #DIV/0! |  | 212 | #DIV/0!
2013-07-13 | [18 empty] | 286 | 0 |  | 2 | 0 |  | 0.1 |  | 179 | #DIV/0! |  | 345 | #DIV/0! |  | 332 | #DIV/0!
2013-07-14 | [18 empty] | 287 | 0 |  | 2 | 0 |  | 0.1 |  | 337 | #DIV/0! |  | 17 | #DIV/0! |  | 279 | #DIV/0!
2013-07-15 | [18 empty] | 288 | 0 |  | 2 | 0 |  | 0.1 |  | 168 | #DIV/0! |  | 205 | #DIV/0! |  | 114 | #DIV/0!
2013-07-16 | [18 empty] | 289 | 0 |  | 2 | 0 |  | 0.1 |  | 297 | #DIV/0! |  | 47 | #DIV/0! |  | 144 | #DIV/0!
2013-07-17 | [18 empty] | 290 | 0 |  | 2 | 0 |  | 0.1 |  | 155 | #DIV/0! |  | 90 | #DIV/0! |  | 22 | #DIV/0!
2013-07-18 | [18 empty] | 291 | 0 |  | 2 | 0 |  | 0.1 |  | 83 | #DIV/0! |  | 249 | #DIV/0! |  | 151 | #DIV/0!
2013-07-19 | [18 empty] | 292 | 0 |  | 2 | 0 |  | 0.1 |  | 339 | #DIV/0! |  | 2 | #DIV/0! |  | 283 | #DIV/0!
2013-07-20 | [18 empty] | 293 | 0 |  | 2 | 0 |  | 0.1 |  | 223 | #DIV/0! |  | 245 | #DIV/0! |  | 140 | #DIV/0!
2013-07-21 | [18 empty] | 294 | 0 |  | 2 | 0 |  | 0.1 |  | 20 | #DIV/0! |  | 324 | #DIV/0! |  | 204 | #DIV/0!
2013-07-22 | [18 empty] | 295 | 0 |  | 2 | 0 |  | 0.1 |  | 152 | #DIV/0! |  | 310 | #DIV/0! |  | 365 | #DIV/0!
2013-07-23 | [18 empty] | 296 | 0 |  | 2 | 0 |  | 0.1 |  | 58 | #DIV/0! |  | 328 | #DIV/0! |  | 17 | #DIV/0!
2013-07-24 | [18 empty] | 297 | 0 |  | 2 | 0 |  | 0.1 |  | 162 | #DIV/0! |  | 166 | #DIV/0! |  | 85 | #DIV/0!
2013-07-25 | [18 empty] | 298 | 0 |  | 2 | 0 |  | 0.1 |  | 85 | #DIV/0! |  | 152 | #DIV/0! |  | 201 | #DIV/0!
2013-07-26 | [18 empty] | 299 | 0 |  | 2 | 0 |  | 0.1 |  | 353 | #DIV/0! |  | 110 | #DIV/0! |  | 273 | #DIV/0!
2013-07-27 | [18 empty] | 300 | 0 |  | 2 | 0 |  | 0.1 |  | 61 | #DIV/0! |  | 316 | #DIV/0! |  | 264 | #DIV/0!
2013-07-28 | [18 empty] | 301 | 0 |  | 2 | 0 |  | 0.1 |  | 207 | #DIV/0! |  | 311 | #DIV/0! |  | 229 | #DIV/0!
2013-07-29 | [18 empty] | 302 | 0 |  | 2 | 0 |  | 0.1 |  | 215 | #DIV/0! |  | 177 | #DIV/0! |  | 317 | #DIV/0!
2013-07-30 | [18 empty] | 303 | 0 |  | 2 | 0 |  | 0.1 |  | 94 | #DIV/0! |  | 306 | #DIV/0! |  | 188 | #DIV/0!
2013-07-31 | [18 empty] | 304 | 0 |  | 2 | 0 |  | 0.1 |  | 210 | #DIV/0! |  | 185 | #DIV/0! |  | 242 | #DIV/0!
2013-08-01 | [18 empty] | 305 | 0 |  | 2 | 0 |  | 0.1 |  | 108 | #DIV/0! |  | 296 | #DIV/0! |  | 12 | #DIV/0!
2013-08-02 | [18 empty] | 306 | 0 |  | 2 | 0 |  | 0.1 |  | 130 | #DIV/0! |  | 269 | #DIV/0! |  | 69 | #DIV/0!
2013-08-03 | [18 empty] | 307 | 0 |  | 2 | 0 |  | 0.1 |  | 204 | #DIV/0! |  | 127 | #DIV/0! |  | 76 | #DIV/0!
2013-08-04 | [18 empty] | 308 | 0 |  | 2 | 0 |  | 0.1 |  | 159 | #DIV/0! |  | 281 | #DIV/0! |  | 130 | #DIV/0!
2013-08-05 | [18 empty] | 309 | 0 |  | 2 | 0 |  | 0.1 |  | 330 | #DIV/0! |  | 42 | #DIV/0! |  | 106 | #DIV/0!
2013-08-06 | [18 empty] | 310 | 0 |  | 2 | 0 |  | 0.1 |  | 303 | #DIV/0! |  | 337 | #DIV/0! |  | 295 | #DIV/0!
2013-08-07 | [18 empty] | 311 | 0 |  | 2 | 0 |  | 0.1 |  | 335 | #DIV/0! |  | 136 | #DIV/0! |  | 67 | #DIV/0!
2013-08-08 | [18 empty] | 312 | 0 |  | 2 | 0 |  | 0.1 |  | 321 | #DIV/0! |  | 217 | #DIV/0! |  | 363 | #DIV/0!
2013-08-09 | [18 empty] | 313 | 0 |  | 2 | 0 |  | 0.1 |  | 225 | #DIV/0! |  | 200 | #DIV/0! |  | 77 | #DIV/0!
2013-08-10 | [18 empty] | 314 | 0 |  | 2 | 0 |  | 0.1 |  | 71 | #DIV/0! |  | 254 | #DIV/0! |  | 184 | #DIV/0!
2013-08-11 | [18 empty] | 315 | 0 |  | 2 | 0 |  | 0.1 |  |  | #DIV/0! |  | 164 | #DIV/0! |  | 42 | #DIV/0!
2013-08-12 | [18 empty] | 316 | 0 |  | 2 | 0 |  | 0.1 |  | 178 | #DIV/0! |  | 173 | #DIV/0! |  | 160 | #DIV/0!
2013-08-13 | [18 empty] | 317 | 0 |  | 2 | 0 |  | 0.1 |  | 75 | #DIV/0! |  | 270 | #DIV/0! |  | 97 | #DIV/0!
2013-08-14 | [18 empty] | 318 | 0 |  | 2 | 0 |  | 0.1 |  | 288 | #DIV/0! |  | 165 | #DIV/0! |  | 61 | #DIV/0!
2013-08-15 | [18 empty] | 319 | 0 |  | 2 | 0 |  | 0.1 |  | 221 | #DIV/0! |  | 64 | #DIV/0! |  | 324 | #DIV/0!
2013-08-16 | [18 empty] | 320 | 0 |  | 2 | 0 |  | 0.1 |  | 248 | #DIV/0! |  | 18 | #DIV/0! |  | 219 | #DIV/0!
2013-08-17 | [18 empty] | 321 | 0 |  | 2 | 0 |  | 0.1 |  | 22 | #DIV/0! |  | 194 | #DIV/0! |  | 210 | #DIV/0!
2013-08-18 | [18 empty] | 322 | 0 |  | 2 | 0 |  | 0.1 |  | 128 | #DIV/0! |  | 273 | #DIV/0! |  | 3 | #DIV/0!
2013-08-19 | [18 empty] | 323 | 0 |  | 2 | 0 |  | 0.1 |  | 266 | #DIV/0! |  | 48 | #DIV/0! |  | 269 | #DIV/0!
2013-08-20 | [18 empty] | 324 | 0 |  | 2 | 0 |  | 0.1 |  | 351 | #DIV/0! |  | 161 | #DIV/0! |  | 203 | #DIV/0!
2013-08-21 | [18 empty] | 325 | 0 |  | 2 | 0 |  | 0.1 |  | 272 | #DIV/0! |  | 266 | #DIV/0! |  | 350 | #DIV/0!
2013-08-22 | [18 empty] | 326 | 0 |  | 2 | 0 |  | 0.1 |  | 197 | #DIV/0! |  | 265 | #DIV/0! |  | 79 | #DIV/0!
2013-08-23 | [18 empty] | 327 | 0 |  | 2 | 0 |  | 0.1 |  | 325 | #DIV/0! |  | 33 | #DIV/0! |  | 247 | #DIV/0!
2013-08-24 | [18 empty] | 328 | 0 |  | 2 | 0 |  | 0.1 |  | 139 | #DIV/0! |  | 55 | #DIV/0! |  | 111 | #DIV/0!
2013-08-25 | [18 empty] | 329 | 0 |  | 2 | 0 |  | 0.1 |  | 203 | #DIV/0! |  | 118 | #DIV/0! |  | 178 | #DIV/0!
2013-08-26 | [18 empty] | 330 | 0 |  | 2 | 0 |  | 0.1 |  | 111 | #DIV/0! |  | 302 | #DIV/0! |  | 282 | #DIV/0!
2013-08-27 | [18 empty] | 331 | 0 |  | 2 | 0 |  | 0.1 |  | 328 | #DIV/0! |  | 284 | #DIV/0! |  | 155 | #DIV/0!
2013-08-28 | [18 empty] | 332 | 0 |  | 2 | 0 |  | 0.1 |  | 116 | #DIV/0! |  | 208 | #DIV/0! |  | 281 | #DIV/0!
2013-08-29 | [18 empty] | 333 | 0 |  | 2 | 0 |  | 0.1 |  | 172 | #DIV/0! |  | 240 | #DIV/0! |  | 289 | #DIV/0!
2013-08-30 | [18 empty] | 334 | 0 |  | 2 | 0 |  | 0.1 |  | 163 | #DIV/0! |  | 225 | #DIV/0! |  | 321 | #DIV/0!
2013-08-31 | [18 empty] | 335 | 0 |  | 2 | 0 |  | 0.1 |  | 80 | #DIV/0! |  | 356 | #DIV/0! |  | 308 | #DIV/0!
2013-09-01 | [18 empty] | 336 | 0 |  | 2 | 0 |  | 0.1 |  | 273 | #DIV/0! |  | 14 | #DIV/0! |  | 345 | #DIV/0!
2013-09-02 | [18 empty] | 337 | 0 |  | 2 | 0 |  | 0.1 |  | 92 | #DIV/0! |  | 146 | #DIV/0! |  | 253 | #DIV/0!
2013-09-03 | [18 empty] | 338 | 0 |  | 2 | 0 |  | 0.1 |  | 276 | #DIV/0! |  | 309 | #DIV/0! |  | 163 | #DIV/0!
2013-09-04 | [18 empty] | 339 | 0 |  | 2 | 0 |  | 0.1 |  | 91 | #DIV/0! |  | 287 | #DIV/0! |  | 156 | #DIV/0!
2013-09-05 | [18 empty] | 340 | 0 |  | 2 | 0 |  | 0.1 |  | 316 | #DIV/0! |  | 147 | #DIV/0! |  | 349 | #DIV/0!
2013-09-06 | [18 empty] | 341 | 0 |  | 2 | 0 |  | 0.1 |  | 32 | #DIV/0! |  | 113 | #DIV/0! |  | 72 | #DIV/0!
2013-09-07 | [18 empty] | 342 | 0 |  | 2 | 0 |  | 0.1 |  | 174 | #DIV/0! |  | 191 | #DIV/0! |  | 62 | #DIV/0!
2013-09-08 | [18 empty] | 343 | 0 |  | 2 | 0 |  | 0.1 |  | 205 | #DIV/0! |  | 125 | #DIV/0! |  | 222 | #DIV/0!
2013-09-09 | [18 empty] | 344 | 0 |  | 2 | 0 |  | 0.1 |  | 164 | #DIV/0! |  | 253 | #DIV/0! |  | 95 | #DIV/0!
2013-09-10 | [18 empty] | 345 | 0 |  | 2 | 0 |  | 0.1 |  | 114 | #DIV/0! |  | 364 | #DIV/0! |  | 320 | #DIV/0!
2013-09-11 | [18 empty] | 346 | 0 |  | 2 | 0 |  | 0.1 |  | 354 | #DIV/0! |  | 280 | #DIV/0! |  | 260 | #DIV/0!
2013-09-12 | [18 empty] | 347 | 0 |  | 2 | 0 |  | 0.1 |  | 243 | #DIV/0! |  | 141 | #DIV/0! |  | 238 | #DIV/0!
2013-09-13 | [18 empty] | 348 | 0 |  | 2 | 0 |  | 0.1 |  | 124 | #DIV/0! |  | 156 | #DIV/0! |  | 166 | #DIV/0!
2013-09-14 | [18 empty] | 349 | 0 |  | 2 | 0 |  | 0.1 |  | 312 | #DIV/0! |  | 235 | #DIV/0! |  | 338 | #DIV/0!
2013-09-15 | [18 empty] | 350 | 0 |  | 2 | 0 |  | 0.1 |  | 299 | #DIV/0! |  | 169 | #DIV/0! |  | 59 | #DIV/0!
2013-09-16 | [18 empty] | 351 | 0 |  | 2 | 0 |  | 0.1 |  | 356 | #DIV/0! |  | 365 | #DIV/0! |  | 50 | #DIV/0!
2013-09-17 | [18 empty] | 352 | 0 |  | 2 | 0 |  | 0.1 |  | 69 | #DIV/0! |  | 8 | #DIV/0! |  | 359 | #DIV/0!
2013-09-18 | [18 empty] | 353 | 0 |  | 2 | 0 |  | 0.1 |  | 5 | #DIV/0! |  | 213 | #DIV/0! |  | 344 | #DIV/0!
2013-09-19 | [18 empty] | 354 | 0 |  | 2 | 0 |  | 0.1 |  | 57 | #DIV/0! |  | 236 | #DIV/0! |  | 211 | #DIV/0!
2013-09-20 | [18 empty] | 355 | 0 |  | 2 | 0 |  | 0.1 |  | 260 | #DIV/0! |  | 321 | #DIV/0! |  | 9 | #DIV/0!
2013-09-21 | [18 empty] | 356 | 0 |  | 2 | 0 |  | 0.1 |  | 350 | #DIV/0! |  | 86 | #DIV/0! |  | 7 | #DIV/0!
2013-09-22 | [18 empty] | 357 | 0 |  | 2 | 0 |  | 0.1 |  | 220 | #DIV/0! |  | 244 | #DIV/0! |  | 81 | #DIV/0!
2013-09-23 | [18 empty] | 358 | 0 |  | 2 | 0 |  | 0.1 |  | 291 | #DIV/0! |  | 264 | #DIV/0! |  | 315 | #DIV/0!
2013-09-24 | [18 empty] | 359 | 0 |  | 2 | 0 |  | 0.1 |  | 166 | #DIV/0! |  | 278 | #DIV/0! |  | 217 | #DIV/0!
2013-09-25 | [18 empty] | 360 | 0 |  | 2 | 0 |  | 0.1 |  | 90 | #DIV/0! |  | 128 | #DIV/0! |  | 189 | #DIV/0!
2013-09-26 | [18 empty] | 361 | 0 |  | 2 | 0 |  | 0.1 |  | 213 | #DIV/0! |  | 96 | #DIV/0! |  | 334 | #DIV/0!
2013-09-27 | [18 empty] | 362 | 0 |  | 2 | 0 |  | 0.1 |  | 63 | #DIV/0! |  | 111 | #DIV/0! |  | 337 | #DIV/0!
2013-09-28 | [18 empty] | 363 | 0 |  | 2 | 0 |  | 0.1 |  | 323 | #DIV/0! |  | 160 | #DIV/0! |  | 94 | #DIV/0!
2013-09-29 | [18 empty] | 364 | 0 |  | 2 | 0 |  | 0.1 |  | 101 | #DIV/0! |  | 246 | #DIV/0! |  | 51 | #DIV/0!
2013-09-30 | [18 empty] | 365 | 0 |  | 2 | 0 |  | 0.1 |  | 142 | #DIV/0! |  | 1 | #DIV/0! |  | 235 | #DIV/0!
2013-10-01 | [18 empty] | 366 | 0 |  | 2 | 0 |  | 0.1 |  | 185 | #DIV/0! |  | 43 | #DIV/0! |  | 177 | #DIV/0!
[26 empty] | 0 |  |  | 0 |  |  | 0
#N/A
Note on A15: Input Start Date. Start Date must be 1st of month (space available for 366 days)
Note on B15: Input Max Daily Raw Turbidity Data
Note on C15: Input Max Daily Sed Basin 1 Turbidity Data or Max Combined Sed Data
Note on D15: Input Max Daily Sed Basin 2 Turbidity Data
Note on E15: Input Max Daily Sed Basin 3 Turbidity Data
Note on F15: Input Max Daily Sed Basin 4 Turbidity Data
Note on G2: Input Plant Name
Note on G3: Input Public Water System Number
Note on G4: Input Settled NTU Goal
Note on G5: Input Filtered NTU Goal
Note on G6: Input Filtered NTU Goal
Note on G15: Input Max Daily Filter 1 Turbidity Data
Note on H15: Input Max Daily Filter 2 Turbidity Data
Note on I15: Input Max Daily Filter 3 Turbidity Data
Note on J15: Input Max Daily Filter 4 Turbidity Data
Note on K15: Input Max Daily Filter 5 Turbidity Data
Note on L15: Input Max Daily Filter 6 Turbidity Data
Note on M15: Input Max Daily Filter 7 Turbidity Data
Note on N15: Input Max Daily Filter 8 Turbidity Data
Note on O15: Input Max Daily Filter 9 Turbidity Data
Note on P15: Input Max Daily Filter 10 Turbidity Data
Note on Q15: Input Max Daily Filter 11 Turbidity Data
Note on R15: Input Max Daily Filter 12 Turbidity Data
Note on S15: Input Max Daily Combined Turbidity Data
Click on this Button to CLEAR the Database
Click on this Button to UPDATE the Reports

## Summary
PWS: XXXXXXX | [9 empty] | Treatment Barrier Performance Summary
ANNUAL DATA |  |  | Avg | Min | Max | RSQ | 95% | Opt. Goal | Reg.
|  |  | NTU | NTU | NTU |  | NTU | % Values | % Values
Raw Turbidity |  |  | 0 | 0 | 0 | n/a | 0 | n/a | n/a
Max. Settled Turbidity |  |  | 0 | 0 | 0 | 0 | 0 | #N/A | n/a
Max. Filtered Turbidity |  |  | 0 | 0 | 0 | 0 | 0 | #N/A | n/a
Combined Filtered Turbidity |  |  | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A
RSQ = Correlation Coefficient for two selected data sets
95% = 95th Percentile value for data set
Opt. Goal = % of values in data set that are less than or equal to the selected optimization turbidity goal
Reg. = % of values in data set that are less than or equal to the regulated turbidity requirement
LA SWTP TURBIDITY RANKING FACTORS
| Combined Filtered Turbidity |  |  |  | Max Settled Turbidity |  | Raw Water Turbidity | RSQ Value
| 95th % | 75th % | 50th % | MAX | 95th % | 50th % | Annual Average | Max Settled | Combined Filtered
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Optimization Assessment Software - Version 27
Note on I28: Correlation Coefficient for the Max. Settled Turbidity and Raw Water Turbidity
Note on I29: Correlation Coefficient for the Max. Filtered Turbidity and Max. Settled Water Turbidity
Note on I30: Correlation Coefficient for the Combined Filtered Turbidity and Max. Settled Water Turbidity

## OptimizationTrend
PWS: XXXXXXX | [19 empty] | Optimization Trend Report
| Settled Water Turbidity | [6 empty] | Filtered Water Turbidity
| 95th Percentile Values (NTU) |  |  |  | % Values Meeting Goal |  |  | 95th Percentile Values (NTU) | [12 empty] | % Values Meeting Goal
| Sed 1 | Sed 2 | Sed 3 | Sed 4 | 3 NTU | 2 NTU | 1 NTU | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Combined | 0.3 | 0.2 | 0.1
2012-10-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2012-11-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2012-12-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-01-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-02-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-03-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-04-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-05-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-06-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-07-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-08-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
2013-09-01 |  |  |  |  | #N/A | #N/A | #N/A | [13 empty] | #N/A | #N/A | #N/A
Yr. 95% | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yr. Goal | 0% | 0% | 0% | 0% |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Optimization Assessment Software - Version 27
Note on C20: Annual 95th % value (NTU)
Note on C21: Annual % values meeting goal
Note on D6: Bold red values in sed columns represent the basin with the highest 95th percentile value for the month.
Note on K6: Bold red values in filter columns represent the filter with the highest 95th percentile value for the month.

## SedSum
Sedimentation Performance Summary

## FilterSum(1-4)
Filtration Performance Summary (Filters 1 - 4)

## FilterSum(5-8)
Filtration Performance Summary (Filters 5 - 8)

## FilterSum(9-12)
Filtration Performance Summary (Filters 9 - 12)

## LT-Trend
| Settled Water |  |  |  | Combined Filtered Water
| 95th % | % Values Meeting Goal |  |  | 95th % | % Values Meeting Goal
Month/Yr | Sed 1 | 3 NTU | 2 NTU | 1 NTU |  | 0.3 NTU | 0.2 NTU | 0.1 NTU
2012-10-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2012-11-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2012-12-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-01-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-02-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-03-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-04-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-05-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-06-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-07-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-08-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
2013-09-01 |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
The area in blue can be copied to the long-term trend spreadsheet (LT_trend.xls) to develop up to three years of performance trends.

## AllDataSort (hidden)
[5 empty] | 0 |  |  |  | 2013-02-01
[5 empty] | Cell to identify if year is a leap year or not. |  |  |  | 2
|  |  |  | Data Entry Area | [18 empty] | Yearly Data Sort Table
FebValue | FebFind |  |  |  | Raw | Sed 1 | Sed 2 | Sed 3 | Sed 4 | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Combined
0 | 0 | 1 | 1 | 2013-01-01
0 | 0 | 1 | 1 | 2013-01-02
0 | 0 | 1 | 1 | 2013-01-03
0 | 0 | 1 | 1 | 2013-01-04
0 | 0 | 1 | 1 | 2013-01-05
0 | 0 | 1 | 1 | 2013-01-06
0 | 0 | 1 | 1 | 2013-01-07
0 | 0 | 1 | 1 | 2013-01-08
0 | 0 | 1 | 1 | 2013-01-09
0 | 0 | 1 | 1 | 2013-01-10
0 | 0 | 1 | 1 | 2013-01-11
0 | 0 | 1 | 1 | 2013-01-12
0 | 0 | 1 | 1 | 2013-01-13
0 | 0 | 1 | 1 | 2013-01-14
0 | 0 | 1 | 1 | 2013-01-15
0 | 0 | 1 | 1 | 2013-01-16
0 | 0 | 1 | 1 | 2013-01-17
0 | 0 | 1 | 1 | 2013-01-18
0 | 0 | 1 | 1 | 2013-01-19
0 | 0 | 1 | 1 | 2013-01-20
0 | 0 | 1 | 1 | 2013-01-21
0 | 0 | 1 | 1 | 2013-01-22
0 | 0 | 1 | 1 | 2013-01-23
0 | 0 | 1 | 1 | 2013-01-24
0 | 0 | 1 | 1 | 2013-01-25
0 | 0 | 1 | 1 | 2013-01-26
0 | 0 | 1 | 1 | 2013-01-27
0 | 0 | 1 | 1 | 2013-01-28
0 | 0 | 1 | 1 | 2013-01-29
0 | 0 | 1 | 1 | 2013-01-30
0 | 0 | 1 | 1 | 2013-01-31
0 | feb | 2 | 2 | 2013-02-01
0 | feb | 2 | 2 | 2013-02-02
0 | feb | 2 | 2 | 2013-02-03
0 | feb | 2 | 2 | 2013-02-04
0 | feb | 2 | 2 | 2013-02-05
0 | feb | 2 | 2 | 2013-02-06
0 | feb | 2 | 2 | 2013-02-07
0 | feb | 2 | 2 | 2013-02-08
0 | feb | 2 | 2 | 2013-02-09
0 | feb | 2 | 2 | 2013-02-10
0 | feb | 2 | 2 | 2013-02-11
0 | feb | 2 | 2 | 2013-02-12
0 | feb | 2 | 2 | 2013-02-13
0 | feb | 2 | 2 | 2013-02-14
0 | feb | 2 | 2 | 2013-02-15
0 | feb | 2 | 2 | 2013-02-16
0 | feb | 2 | 2 | 2013-02-17
0 | feb | 2 | 2 | 2013-02-18
0 | feb | 2 | 2 | 2013-02-19
0 | feb | 2 | 2 | 2013-02-20
0 | feb | 2 | 2 | 2013-02-21
0 | feb | 2 | 2 | 2013-02-22
0 | feb | 2 | 2 | 2013-02-23
0 | feb | 2 | 2 | 2013-02-24
0 | feb | 2 | 2 | 2013-02-25
0 | feb | 2 | 2 | 2013-02-26
0 | feb | 2 | 2 | 2013-02-27
0 | feb | 2 | 2 | 2013-02-28
0 | 0 | 3 | 3 | 2013-03-01
0 | 0 | 3 | 3 | 2013-03-02
0 | 0 | 3 | 3 | 2013-03-03
0 | 0 | 3 | 3 | 2013-03-04
0 | 0 | 3 | 3 | 2013-03-05
0 | 0 | 3 | 3 | 2013-03-06
0 | 0 | 3 | 3 | 2013-03-07
0 | 0 | 3 | 3 | 2013-03-08
0 | 0 | 3 | 3 | 2013-03-09
0 | 0 | 3 | 3 | 2013-03-10
0 | 0 | 3 | 3 | 2013-03-11
0 | 0 | 3 | 3 | 2013-03-12
0 | 0 | 3 | 3 | 2013-03-13
0 | 0 | 3 | 3 | 2013-03-14
0 | 0 | 3 | 3 | 2013-03-15
0 | 0 | 3 | 3 | 2013-03-16
0 | 0 | 3 | 3 | 2013-03-17
0 | 0 | 3 | 3 | 2013-03-18
0 | 0 | 3 | 3 | 2013-03-19
0 | 0 | 3 | 3 | 2013-03-20
0 | 0 | 3 | 3 | 2013-03-21
0 | 0 | 3 | 3 | 2013-03-22
0 | 0 | 3 | 3 | 2013-03-23
0 | 0 | 3 | 3 | 2013-03-24
0 | 0 | 3 | 3 | 2013-03-25
0 | 0 | 3 | 3 | 2013-03-26
0 | 0 | 3 | 3 | 2013-03-27
0 | 0 | 3 | 3 | 2013-03-28
0 | 0 | 3 | 3 | 2013-03-29
0 | 0 | 3 | 3 | 2013-03-30
0 | 0 | 3 | 3 | 2013-03-31
0 | 0 | 4 | 4 | 2013-04-01
0 | 0 | 4 | 4 | 2013-04-02
0 | 0 | 4 | 4 | 2013-04-03
0 | 0 | 4 | 4 | 2013-04-04
0 | 0 | 4 | 4 | 2013-04-05
0 | 0 | 4 | 4 | 2013-04-06
0 | 0 | 4 | 4 | 2013-04-07
0 | 0 | 4 | 4 | 2013-04-08
0 | 0 | 4 | 4 | 2013-04-09
0 | 0 | 4 | 4 | 2013-04-10
0 | 0 | 4 | 4 | 2013-04-11
0 | 0 | 4 | 4 | 2013-04-12
0 | 0 | 4 | 4 | 2013-04-13
0 | 0 | 4 | 4 | 2013-04-14
0 | 0 | 4 | 4 | 2013-04-15
0 | 0 | 4 | 4 | 2013-04-16
0 | 0 | 4 | 4 | 2013-04-17
0 | 0 | 4 | 4 | 2013-04-18
0 | 0 | 4 | 4 | 2013-04-19
0 | 0 | 4 | 4 | 2013-04-20
0 | 0 | 4 | 4 | 2013-04-21
0 | 0 | 4 | 4 | 2013-04-22
0 | 0 | 4 | 4 | 2013-04-23
0 | 0 | 4 | 4 | 2013-04-24
0 | 0 | 4 | 4 | 2013-04-25
0 | 0 | 4 | 4 | 2013-04-26
0 | 0 | 4 | 4 | 2013-04-27
0 | 0 | 4 | 4 | 2013-04-28
0 | 0 | 4 | 4 | 2013-04-29
0 | 0 | 4 | 4 | 2013-04-30
0 | 0 | 5 | 5 | 2013-05-01
0 | 0 | 5 | 5 | 2013-05-02
0 | 0 | 5 | 5 | 2013-05-03
feb | 0 | 5 | 5 | 2013-05-04
feb | 0 | 5 | 5 | 2013-05-05
feb | 0 | 5 | 5 | 2013-05-06
feb | 0 | 5 | 5 | 2013-05-07
feb | 0 | 5 | 5 | 2013-05-08
feb | 0 | 5 | 5 | 2013-05-09
feb | 0 | 5 | 5 | 2013-05-10
feb | 0 | 5 | 5 | 2013-05-11
feb | 0 | 5 | 5 | 2013-05-12
feb | 0 | 5 | 5 | 2013-05-13
feb | 0 | 5 | 5 | 2013-05-14
feb | 0 | 5 | 5 | 2013-05-15
feb | 0 | 5 | 5 | 2013-05-16
feb | 0 | 5 | 5 | 2013-05-17
feb | 0 | 5 | 5 | 2013-05-18
feb | 0 | 5 | 5 | 2013-05-19
feb | 0 | 5 | 5 | 2013-05-20
feb | 0 | 5 | 5 | 2013-05-21
feb | 0 | 5 | 5 | 2013-05-22
feb | 0 | 5 | 5 | 2013-05-23
feb | 0 | 5 | 5 | 2013-05-24
feb | 0 | 5 | 5 | 2013-05-25
feb | 0 | 5 | 5 | 2013-05-26
feb | 0 | 5 | 5 | 2013-05-27
feb | 0 | 5 | 5 | 2013-05-28
feb | 0 | 5 | 5 | 2013-05-29
feb | 0 | 5 | 5 | 2013-05-30
feb | 0 | 5 | 5 | 2013-05-31
0 | 0 | 6 | 6 | 2013-06-01
0 | 0 | 6 | 6 | 2013-06-02
0 | 0 | 6 | 6 | 2013-06-03
0 | 0 | 6 | 6 | 2013-06-04
0 | 0 | 6 | 6 | 2013-06-05
0 | 0 | 6 | 6 | 2013-06-06
0 | 0 | 6 | 6 | 2013-06-07
0 | 0 | 6 | 6 | 2013-06-08
0 | 0 | 6 | 6 | 2013-06-09
0 | 0 | 6 | 6 | 2013-06-10
0 | 0 | 6 | 6 | 2013-06-11
0 | 0 | 6 | 6 | 2013-06-12
0 | 0 | 6 | 6 | 2013-06-13
0 | 0 | 6 | 6 | 2013-06-14
0 | 0 | 6 | 6 | 2013-06-15
0 | 0 | 6 | 6 | 2013-06-16
0 | 0 | 6 | 6 | 2013-06-17
0 | 0 | 6 | 6 | 2013-06-18
0 | 0 | 6 | 6 | 2013-06-19
0 | 0 | 6 | 6 | 2013-06-20
0 | 0 | 6 | 6 | 2013-06-21
0 | 0 | 6 | 6 | 2013-06-22
0 | 0 | 6 | 6 | 2013-06-23
0 | 0 | 6 | 6 | 2013-06-24
0 | 0 | 6 | 6 | 2013-06-25
0 | 0 | 6 | 6 | 2013-06-26
0 | 0 | 6 | 6 | 2013-06-27
0 | 0 | 6 | 6 | 2013-06-28
0 | 0 | 6 | 6 | 2013-06-29
0 | 0 | 6 | 6 | 2013-06-30
0 | 0 | 7 | 7 | 2013-07-01
0 | 0 | 7 | 7 | 2013-07-02
0 | 0 | 7 | 7 | 2013-07-03
0 | 0 | 7 | 7 | 2013-07-04
0 | 0 | 7 | 7 | 2013-07-05
0 | 0 | 7 | 7 | 2013-07-06
0 | 0 | 7 | 7 | 2013-07-07
0 | 0 | 7 | 7 | 2013-07-08
0 | 0 | 7 | 7 | 2013-07-09
0 | 0 | 7 | 7 | 2013-07-10
0 | 0 | 7 | 7 | 2013-07-11
0 | 0 | 7 | 7 | 2013-07-12
0 | 0 | 7 | 7 | 2013-07-13
0 | 0 | 7 | 7 | 2013-07-14
0 | 0 | 7 | 7 | 2013-07-15
0 | 0 | 7 | 7 | 2013-07-16
0 | 0 | 7 | 7 | 2013-07-17
0 | 0 | 7 | 7 | 2013-07-18
0 | 0 | 7 | 7 | 2013-07-19
0 | 0 | 7 | 7 | 2013-07-20
0 | 0 | 7 | 7 | 2013-07-21
0 | 0 | 7 | 7 | 2013-07-22
0 | 0 | 7 | 7 | 2013-07-23
0 | 0 | 7 | 7 | 2013-07-24
0 | 0 | 7 | 7 | 2013-07-25
0 | 0 | 7 | 7 | 2013-07-26
0 | 0 | 7 | 7 | 2013-07-27
0 | 0 | 7 | 7 | 2013-07-28
0 | 0 | 7 | 7 | 2013-07-29
0 | 0 | 7 | 7 | 2013-07-30
0 | 0 | 7 | 7 | 2013-07-31
0 | 0 | 8 | 8 | 2013-08-01
0 | 0 | 8 | 8 | 2013-08-02
0 | 0 | 8 | 8 | 2013-08-03
0 | 0 | 8 | 8 | 2013-08-04
0 | 0 | 8 | 8 | 2013-08-05
0 | 0 | 8 | 8 | 2013-08-06
0 | 0 | 8 | 8 | 2013-08-07
0 | 0 | 8 | 8 | 2013-08-08
0 | 0 | 8 | 8 | 2013-08-09
0 | 0 | 8 | 8 | 2013-08-10
0 | 0 | 8 | 8 | 2013-08-11
0 | 0 | 8 | 8 | 2013-08-12
0 | 0 | 8 | 8 | 2013-08-13
0 | 0 | 8 | 8 | 2013-08-14
0 | 0 | 8 | 8 | 2013-08-15
0 | 0 | 8 | 8 | 2013-08-16
0 | 0 | 8 | 8 | 2013-08-17
0 | 0 | 8 | 8 | 2013-08-18
0 | 0 | 8 | 8 | 2013-08-19
0 | 0 | 8 | 8 | 2013-08-20
0 | 0 | 8 | 8 | 2013-08-21
0 | 0 | 8 | 8 | 2013-08-22
0 | 0 | 8 | 8 | 2013-08-23
0 | 0 | 8 | 8 | 2013-08-24
0 | 0 | 8 | 8 | 2013-08-25
0 | 0 | 8 | 8 | 2013-08-26
0 | 0 | 8 | 8 | 2013-08-27
0 | 0 | 8 | 8 | 2013-08-28
0 | 0 | 8 | 8 | 2013-08-29
0 | 0 | 8 | 8 | 2013-08-30
0 | 0 | 8 | 8 | 2013-08-31
0 | 0 | 9 | 9 | 2013-09-01
0 | 0 | 9 | 9 | 2013-09-02
0 | 0 | 9 | 9 | 2013-09-03
0 | 0 | 9 | 9 | 2013-09-04
0 | 0 | 9 | 9 | 2013-09-05
0 | 0 | 9 | 9 | 2013-09-06
0 | 0 | 9 | 9 | 2013-09-07
0 | 0 | 9 | 9 | 2013-09-08
0 | 0 | 9 | 9 | 2013-09-09
0 | 0 | 9 | 9 | 2013-09-10
0 | 0 | 9 | 9 | 2013-09-11
0 | 0 | 9 | 9 | 2013-09-12
0 | 0 | 9 | 9 | 2013-09-13
0 | 0 | 9 | 9 | 2013-09-14
0 | 0 | 9 | 9 | 2013-09-15
0 | 0 | 9 | 9 | 2013-09-16
0 | 0 | 9 | 9 | 2013-09-17
0 | 0 | 9 | 9 | 2013-09-18
0 | 0 | 9 | 9 | 2013-09-19
0 | 0 | 9 | 9 | 2013-09-20
0 | 0 | 9 | 9 | 2013-09-21
0 | 0 | 9 | 9 | 2013-09-22
0 | 0 | 9 | 9 | 2013-09-23
0 | 0 | 9 | 9 | 2013-09-24
0 | 0 | 9 | 9 | 2013-09-25
0 | 0 | 9 | 9 | 2013-09-26
0 | 0 | 9 | 9 | 2013-09-27
0 | 0 | 9 | 9 | 2013-09-28
0 | 0 | 9 | 9 | 2013-09-29
0 | 0 | 9 | 9 | 2013-09-30
0 | 0 | 10 | 10 | 2012-10-01
0 | 0 | 10 | 10 | 2012-10-02
0 | 0 | 10 | 10 | 2012-10-03
0 | 0 | 10 | 10 | 2012-10-04
0 | 0 | 10 | 10 | 2012-10-05
0 | 0 | 10 | 10 | 2012-10-06
0 | 0 | 10 | 10 | 2012-10-07
0 | 0 | 10 | 10 | 2012-10-08
0 | 0 | 10 | 10 | 2012-10-09
0 | 0 | 10 | 10 | 2012-10-10
0 | 0 | 10 | 10 | 2012-10-11
0 | 0 | 10 | 10 | 2012-10-12
0 | 0 | 10 | 10 | 2012-10-13
0 | 0 | 10 | 10 | 2012-10-14
0 | 0 | 10 | 10 | 2012-10-15
0 | 0 | 10 | 10 | 2012-10-16
0 | 0 | 10 | 10 | 2012-10-17
0 | 0 | 10 | 10 | 2012-10-18
0 | 0 | 10 | 10 | 2012-10-19
0 | 0 | 10 | 10 | 2012-10-20
0 | 0 | 10 | 10 | 2012-10-21
0 | 0 | 10 | 10 | 2012-10-22
0 | 0 | 10 | 10 | 2012-10-23
0 | 0 | 10 | 10 | 2012-10-24
0 | 0 | 10 | 10 | 2012-10-25
0 | 0 | 10 | 10 | 2012-10-26
0 | 0 | 10 | 10 | 2012-10-27
0 | 0 | 10 | 10 | 2012-10-28
0 | 0 | 10 | 10 | 2012-10-29
0 | 0 | 10 | 10 | 2012-10-30
0 | 0 | 10 | 10 | 2012-10-31
0 | 0 | 11 | 11 | 2012-11-01
0 | 0 | 11 | 11 | 2012-11-02
0 | 0 | 11 | 11 | 2012-11-03
0 | 0 | 11 | 11 | 2012-11-04
0 | 0 | 11 | 11 | 2012-11-05
0 | 0 | 11 | 11 | 2012-11-06
0 | 0 | 11 | 11 | 2012-11-07
0 | 0 | 11 | 11 | 2012-11-08
0 | 0 | 11 | 11 | 2012-11-09
0 | 0 | 11 | 11 | 2012-11-10
0 | 0 | 11 | 11 | 2012-11-11
0 | 0 | 11 | 11 | 2012-11-12
0 | 0 | 11 | 11 | 2012-11-13
0 | 0 | 11 | 11 | 2012-11-14
0 | 0 | 11 | 11 | 2012-11-15
0 | 0 | 11 | 11 | 2012-11-16
0 | 0 | 11 | 11 | 2012-11-17
0 | 0 | 11 | 11 | 2012-11-18
0 | 0 | 11 | 11 | 2012-11-19
0 | 0 | 11 | 11 | 2012-11-20
0 | 0 | 11 | 11 | 2012-11-21
0 | 0 | 11 | 11 | 2012-11-22
0 | 0 | 11 | 11 | 2012-11-23
0 | 0 | 11 | 11 | 2012-11-24
0 | 0 | 11 | 11 | 2012-11-25
0 | 0 | 11 | 11 | 2012-11-26
0 | 0 | 11 | 11 | 2012-11-27
0 | 0 | 11 | 11 | 2012-11-28
0 | 0 | 11 | 11 | 2012-11-29
0 | 0 | 11 | 11 | 2012-11-30
0 | 0 | 12 | 12 | 2012-12-01
0 | 0 | 12 | 12 | 2012-12-02
0 | 0 | 12 | 12 | 2012-12-03
0 | 0 | 12 | 12 | 2012-12-04
0 | 0 | 12 | 12 | 2012-12-05
0 | 0 | 12 | 12 | 2012-12-06
0 | 0 | 12 | 12 | 2012-12-07
0 | 0 | 12 | 12 | 2012-12-08
0 | 0 | 12 | 12 | 2012-12-09
0 | 0 | 12 | 12 | 2012-12-10
0 | 0 | 12 | 12 | 2012-12-11
0 | 0 | 12 | 12 | 2012-12-12
0 | 0 | 12 | 12 | 2012-12-13
0 | 0 | 12 | 12 | 2012-12-14
0 | 0 | 12 | 12 | 2012-12-15
0 | 0 | 12 | 12 | 2012-12-16
0 | 0 | 12 | 12 | 2012-12-17
0 | 0 | 12 | 12 | 2012-12-18
0 | 0 | 12 | 12 | 2012-12-19
0 | 0 | 12 | 12 | 2012-12-20
0 | 0 | 12 | 12 | 2012-12-21
0 | 0 | 12 | 12 | 2012-12-22
0 | 0 | 12 | 12 | 2012-12-23
0 | 0 | 12 | 12 | 2012-12-24
0 | 0 | 12 | 12 | 2012-12-25
0 | 0 | 12 | 12 | 2012-12-26
0 | 0 | 12 | 12 | 2012-12-27
0 | 0 | 12 | 12 | 2012-12-28
0 | 0 | 12 | 12 | 2012-12-29
0 | 0 | 12 | 12 | 2012-12-30
0 | 0 | 12 | 12 | 2012-12-31
0 | 0 | 13 | 13 | 2013-10-01

## MonthDist (hidden)
| Settled Turbidity | [6 empty] | Filtered Turbidity
MONTH | Sed1 95% | Sed2 95% | Sed3 95% | Sed4 95% | Goal 3 | Goal 2 | Goal 1 | 95% #1 | 95% #2 | 95% #3 | 95% #4 | 95% #5 | 95% #6 | 95% #7 | 95% #8 | 95% #9 | 95% #10 | 95% #11 | 95% #12 | 95% Com | Goal .3 | Goal .2 | Goal .1
2012-12-01 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A
Monthly Data
| Raw | Sed 1 | Sed 2 | Sed 3 | Sed 4 | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Combined
[23 empty] | MaxSettle |  |  | CombinedFilter |  |  | MaxFilterValues
[20 empty] | MaxSettle | MaxFilter |  | MSC1 |  | MS% | CFC1 |  | CF%
2012-12-01 | [19 empty] | 0 | 0 |  |  | 19 | #DIV/0! |  | 23 | #DIV/0!
2012-12-02 | [19 empty] | 0 | 0 |  |  | 3 | #DIV/0! |  | 26 | #DIV/0!
2012-12-03 | [19 empty] | 0 | 0 |  |  | 10 | #DIV/0! |  | 28 | #DIV/0!
2012-12-04 | [19 empty] | 0 | 0 |  |  | 15 | #DIV/0! |  | 21 | #DIV/0!
2012-12-05 | [19 empty] | 0 | 0 |  |  | 27 | #DIV/0! |  | 15 | #DIV/0!
2012-12-06 | [19 empty] | 0 | 0 |  |  | 24 | #DIV/0! |  | 31 | #DIV/0!
2012-12-07 | [19 empty] | 0 | 0 |  |  | 9 | #DIV/0! |  | 19 | #DIV/0!
2012-12-08 | [19 empty] | 0 | 0 |  |  | 23 | #DIV/0! |  | 14 | #DIV/0!
2012-12-09 | [19 empty] | 0 | 0 |  |  | 29 | #DIV/0! |  | 27 | #DIV/0!
2012-12-10 | [19 empty] | 0 | 0 |  |  | 13 | #DIV/0! |  | 22 | #DIV/0!
2012-12-11 | [19 empty] | 0 | 0 |  |  | 7 | #DIV/0! |  | 30 | #DIV/0!
2012-12-12 | [19 empty] | 0 | 0 |  |  | 2 | #DIV/0! |  | 25 | #DIV/0!
2012-12-13 | [19 empty] | 0 | 0 |  |  | 4 | #DIV/0! |  | 29 | #DIV/0!
2012-12-14 | [19 empty] | 0 | 0 |  |  | 12 | #DIV/0! |  | 3 | #DIV/0!
2012-12-15 | [19 empty] | 0 | 0 |  |  | 26 | #DIV/0! |  | 7 | #DIV/0!
2012-12-16 | [19 empty] | 0 | 0 |  |  | 22 | #DIV/0! |  | 11 | #DIV/0!
2012-12-17 | [19 empty] | 0 | 0 |  |  | 31 | #DIV/0! |  | 5 | #DIV/0!
2012-12-18 | [19 empty] | 0 | 0 |  |  | 16 | #DIV/0! |  | 1 | #DIV/0!
2012-12-19 | [19 empty] | 0 | 0 |  |  | 8 | #DIV/0! |  | 24 | #DIV/0!
2012-12-20 | [19 empty] | 0 | 0 |  |  | 1 | #DIV/0! |  | 8 | #DIV/0!
2012-12-21 | [19 empty] | 0 | 0 |  |  | 28 | #DIV/0! |  | 6 | #DIV/0!
2012-12-22 | [19 empty] | 0 | 0 |  |  | 25 | #DIV/0! |  | 10 | #DIV/0!
2012-12-23 | [19 empty] | 0 | 0 |  |  | 30 | #DIV/0! |  | 16 | #DIV/0!
2012-12-24 | [19 empty] | 0 | 0 |  |  | 17 | #DIV/0! |  | 12 | #DIV/0!
2012-12-25 | [19 empty] | 0 | 0 |  |  | 6 | #DIV/0! |  | 13 | #DIV/0!
2012-12-26 | [19 empty] | 0 | 0 |  |  | 18 | #DIV/0! |  | 17 | #DIV/0!
2012-12-27 | [19 empty] | 0 | 0 |  |  | 20 | #DIV/0! |  | 18 | #DIV/0!
2012-12-28 | [19 empty] | 0 | 0 |  |  | 21 | #DIV/0! |  | 9 | #DIV/0!
2012-12-29 | [19 empty] | 0 | 0 |  |  | 14 | #DIV/0! |  | 20 | #DIV/0!
2012-12-30 | [19 empty] | 0 | 0 |  |  | 11 | #DIV/0! |  | 4 | #DIV/0!
2012-12-31 | [19 empty] | 0 | 0 |  |  | 5 | #DIV/0! |  | 2 | #DIV/0!
[23 empty] | 0 |  |  | 0