|  |  |  |  |  |  |  |  | Safe Drinking Water Program RTCR Level 1 Assessment Form |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PWS ID#:LA | PWS Name: |  |  |  |  |  |  |  | Parish: |
|  | LDHH Notification Date (mm/dd/yyyy) |  |  |  | Assessment Date: (mm/dd/yy) |  |  |  |  |  |
|  | INSTRUCTIONS: Complete all Sections, Certify with Signature(s) and Submit to LDH |  |  |  |  |  |  |  |  |  |
|  | In Section A, review and evaluate the listed elements typically found at a PWS. For the two week period preceding the positive coliform sample(s), check (√) all elements reviewed and check (√) “Yes” if any Sanitary Defects (e.g., pathway of entry for microbial contamination) were identified, check (√) “No” if sanitary defects were not identified, or check (√) “NA” if the section is not applicable to the PWS. In Section B “Description of Occurrence” provide an explanation of any sanitary defects identified. In Section C “Corrective Action” provide proposed corrective action(s) of any sanitary defects identified in Section B. Return this form within 30 days after the LDHH Notification Date of the RTCR Level 1 Trigger. |  |  |  |  |  |  |  |  |  |
|  | Section A |  |  |  |  |  |  |  |  |  |
|  | 1. SOURCES |  |  |  |  |  |  | Sanitary Defects: Yes No |  |  |
|  | General (Surface or Ground water) |  |  |  |  |  |  | Wells |  |  |
|  | change in source (new or inactivated source) |  |  |  |  |  |  | flood water and/or run-off inundation |  |  |
|  | potential source of contamination |  |  |  |  |  |  | defective/damaged well cap/well seal/well casing |  |  |
|  | operation/maintenance activities |  |  |  |  |  |  | damaged well casing |  |  |
|  | visible indicators of unsanitary conditions |  |  |  |  |  |  | damaged/unscreened vent |  |  |
|  | signs of vandalism/forced entry* |  |  |  |  |  |  | inadequate grout seal |  |  |
|  | water quality parameters out of range |  |  |  |  |  |  | inadequate depth of grout |  |  |
|  | extreme weather conditions (e.g., drought, heavy rains, etc.) |  |  |  |  |  |  | unprotected opening in pump/pump assembly |  |  |
|  | other: |  |  |  |  |  |  |  |  |  |
|  | * Report any malicious intent or an act of vandalism to DHH within two hours. |  |  |  |  |  |  |  |  |  |
|  | 2. TREATMENT PROCESS |  |  |  |  | Sanitary Defects: Yes No NA** |  |  |  |  |
|  | change in flow rates |  |  |  |  | turbidity measurements out of range |  |  |  |  |
|  | interruptions in treatment/power loss |  |  |  |  | O & M procedures not followed |  |  |  |  |
|  | treatment added or changed |  |  |  |  | recent installation/repair |  |  |  |  |
|  | inadequate disinfection |  |  |  |  | other: |  |  |  |  |
|  | 3. SAMPLE SITE |  |  |  |  | Sanitary Defects: Yes No |  |  |  |  |
|  | a domestic or other non-distribution system plumbing problem |  |  |  |  |  |  |  | other: |  |
|  | 4. DISTRIBUTION SYSTEM |  |  |  |  |  |  |  | Sanitary Defects: Yes No |  |
|  | pressure loss/inadequate pressure (<20 psi) |  |  | operation of isolation valves resulting in breakage |  |  |  |  |  |  |
|  | standing water/debris in valve/relief vault |  |  | flushing of fire hydrants or blow-offs |  |  |  |  |  |  |
|  | low disinfection residuals |  |  | improper operation or installation of air-relief valves/blow off |  |  |  |  |  |  |
|  | pump or valve failure |  |  | installation of new mains or construction activity |  |  |  |  |  |  |
|  | firefighting event/flushing/sheared hydrant |  |  | improper operation of pumps/valves |  |  |  |  |  |  |
|  | improper surge control |  |  | improper use of hydrants |  |  |  |  |  |  |
|  | improper operation of valves |  |  | main break(s) 30 days prior to TC+/E.coli+ sample |  |  |  |  |  |  |
|  | unprotected cross connection |  |  leaks | other: |  |  |  |  |  |  |
|  | 5. STORAGE TANKS |  |  |  |  |  | Sanitary Defects: Yes No NA** |  |  |  |
|  | deterioration, rust, holes, leaks, or other breaches in tank wall, drain pipe, vent, overflow pipe, ladders, etc. |  |  |  |  |  |  |  |  |  |
|  | incorrect operation of level control valves, altitude valves, and related appurtenances |  |  |  |  |  |  |  |  |  |
|  | improper maintenance practices (no inspection within 5 years) |  |  |  |  |  |  |  | low disinfectant residual |  |
|  | presence of dead animals/insects |  |  |  |  |  |  |  | screen compromised or wrong mesh size |  |
|  | inadequate air gap for overflow or vent termination |  |  |  |  |  |  |  | access hatch not sealed |  |
|  | signs of vandalism/forced entry |  |  |  |  |  |  |  | other: |  |
|  | ** NA (not applicable) should be checked if the PWS does not have that component (i.e. no storage tanks) |  |  |  |  |  |  |  |  |  |

Section B - Description of Occurrence of Sanitary Defects: Use this space to provide additional information that supports your findings (i.e. water quality and pressure monitoring data). Include corresponding dates with your findings.

Check if PWS did not find any sanitary defects.

Section C - Corrective Action Use this space to describe corrective action taken or proposed corrective action with corresponding dates.

| First coliform detection date: / / |  |  |  | Second coliform detection date: / / |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total# routine and repeat samples: |  |  | Total# coliform positive samples: |  |  |  |  | Total# E. coli positive samples: |  |
| Total# triggered GW sample total coliform positive: |  |  |  | Total# triggered GW sample E. coli positive: |  |  |  |  |  |
| Note: A RTCR Level 2 Assessment is required when two (2) Level 1 Assessments occur within a 12 month period or when one of the two coliform positive samples is also paired with an E. coli positive (Acute MCL) |  |  |  |  |  |  |  |  |  |
| Certified Operator (print name): |  |  |  |  | Operator ID: |  |  |  |  |
| Distribution Level (1-4) |  | Production Level (1-4) |  |  |  |  | Treatment Level (1-4) |  |  |
| Sample Collector(s) ( same as Certified Operator): |  |  |  |  |  |  |  |  |  |
| Certification: I certify under penalty of law that I am the person authorized to fill out this form, and the information contained herein is true, accurate and complete to the best of my knowledge and belief. |  |  |  |  |  |  |  |  |  |
| Print Name: |  |  |  |  |  | Title: |  |  |  |
| Signature: |  |  |  |  |  | Date: |  |  |  |
| Email: |  |  |  |  |  | Phone: |  |  |  |

Please return this form to the LDH Safe Drinking Water Program district office where the system is located - find district office address at:  www.ldh.la.gov/SafeDrinkingWater

| SDWP USE ONLY: Date received: / / | SDWP Reviewer: |
| --- | --- |