## Sheet1
DAILY DATA SHEET Revised 8/2022
MONTH | [6 empty] | PWS NAME
YEAR | [6 empty] | PWS ID
I DECLARE UNDER PENALTY OF PERJURY THAT THE FOREGOING IS TRUE AND CORRECT
PREPARED BY | [6 empty] | OPERATOR ID #
SIGNATURE | [5 empty] | WATER TREATMENT CERTIFICATION LEVEL
DATE
FILTRATION TYPE: CONVENTIONAL , DIRECT, MEMBRANE FILTRATION
DATE | MINIMUM DISINFECTANT RESIDUAL AT POINT OF ENTRY TO DISTRIBUTION (mg/l) | [5 empty] | SETTLED WATER EFFLUENT TURBIDITY (NTU) UNIT 1 | [5 empty] | MAXIMUM COMBINED FILTER EFFLUENT TURBIDITY (NTU) | [5 empty] | RAW
TIME | AM 12 | 4 | 8 | PM 12 | 4 | 8 | AM 12 | 4 | 8 | PM 12 | 4 | 8 | AM 12 | 4 | 8 | PM 12 | 4 | 8 | 1 TIME/DAY
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
NOTE: Systems shall notify LDH Regional Engineer within 24 hours by telephone or equally rapid means whenever:
A. Turbidity of the combined filter effluent exceeds 1.0 NTU.
B. More than two (i.e., three) consecutive 4-hour monitoring periods of the maximum combined filter effluent turbidity samples exceeds 0.5 NTU.
C. Failure to maintain a minimum disinfectant residual of 0.5 mg/l free chlorine or 0.5 mg/L total chlorine in the water being delivered to the distribution system and whether or not the disinfectant residual was restored to at least 0.5 mg/L free or 0.5 mg/L total chlorine within four hours.